CLINICAL ENDPOINTS REVIEW (CER) SUMMARY: With table edits corresponding to review by three external experts

Devices to Manage Tremor in Parkinson’s Disease and Essential Tremor

Contents

Overview

Table A1. Prioritized Clinical Endpoints Identified in Peer-Reviewed Systematic Reviews

Table A2. All Clinical Endpoints Identified in Peer-Reviewed Systematic Reviews

Table B1. Clinical Endpoints Derived from Professional Guidance Documents on Parkinson’s Disease

Table B2. Outcomes Identified as ‘Critical’ or ‘Important’ by the  European Academy of Neurology and European Section of the Movement Disorder Society

Table C. Definitions of MCIDs

Table D. Follow-up Duration

Overview

Objectives: 1) To identify the most common clinical endpoints in studies of devices for the management/treatment of medication-refractory Parkinson’s disease (PD) and essential tremor (ET), focusing on tremor and motor symptoms. 2) To identify the commonly used instruments/tools to assess those outcomes and identify definitions of clinically meaningful differences for each instrument/tool where possible.

Literature considered: 1) Peer-reviewed systematic reviews of clinical studies of devices for patients with PD or ET and 2) professional guidance documents, i.e., clinical practice guidelines and consensus statements.

External input and review: A neurologist assisted in the development of the CER report. Three expert reviewers, a neurosurgeon and two neurologists (different from the original neurologist contributor), reviewed the completed CER and submitted written responses to review questions.

Important clinical endpoints identified: Table A1 in this document lists the most important clinical endpoints according to a prioritization process based on the frequency with which a clinical endpoint was measured in the primary studies included in a selected set of systematic reviews (see the table footnotes). Additional clinical endpoints recommended by the three expert reviewers have also been added to Table A1.

A complete list of all the clinical endpoints identified by the systematic reviews appears in Table A2 in this document.

Table B lists the clinical endpoints emphasized in selected professional guidance documents pertaining to PD. This set of clinical endpoints overlaps considerably with the prioritized set derived from systematic reviews and presented in Table A1. However, certain endpoints emphasized by three or four of the five professional guidance documents do not appear in the systematic review-derived and prioritized list: behavioral and mood disorders, motor complications, and safety endpoints. Clinical practice guidelines published jointly by the European Academy of Neurology and the European section of the Movement Disorders Society considered mood and behavioral disorders to be “important” clinical endpoints, motor complications to be “critical”, and safety endpoints to be “critical”. The same guidelines also judged all the types of endpoints that do appear in Table A1 to be either “important” or “critical”. No relevant professional guidance documents were identified for ET.

Devices represented by the systematic reviews: deep brain stimulation (DBS) (the most frequently covered by systematic reviews), repetitive transcranial magnetic stimulation (rTMS), subthalamotomy, magnetic resonance-guided focused ultrasound (MRgFUS), transcranial direct current stimulation (tDCS), robot-assisted gait training, and wearable stimulators and sensors.

Measurement instruments: The clinical endpoints prioritized by the CER (Table A1) are generally measured according to formal, validated scales, and the CER identified published definitions of minimal clinically important differences (MCIDs) for the scales most frequently used to measure the prioritized clinical endpoints (Table C). Full descriptions of the prioritized measurement tools and associated validation studies are in Appendix Table C1 of the full CER.

Information unavailable from the CER: Typical follow-up duration specific to each clinical endpoint was not provided in the CER. Nor did the CER analyze the frequency of clinical endpoints according to device type or patient clinical history.

Applicability to the Medicare beneficiary population: None of the systematic reviews or professional guidance documents focused on older adults, but the mean age of study groups ranged from 54 to 77 years across the systematic reviews. The reviews described most study groups as representing a mix of disease severity according to the Hoehn and Yahr scale. The reviews did not provide sufficient information to allow assessment of the generalizability of the CER’s findings concerning patient comorbidities or demographics other than age.

Table A1. Prioritized Clinical Endpoints Identified in Peer-Reviewed Systematic Reviews (see Table 2 in the full CER)

Green-shaded boxes reflect feedback from one or more of three experts who reviewed the completed CER. Instruments in these boxes were taken from Appendix Table B2 of the CER or were recommended by a reviewer.

| Domain | Clinical endpoints (citation volume )* | Instruments (citation volume)† |
| --- | --- | --- |
| PARKINSON’S DISEASE |  |  |
| Clinician-Assessed Health Outcomes (Directly assessed by a clinician or evaluated in the context of a clinician-administered instrument that includes some self-report items.) | Global change in motor symptom severity (motor score) (65%) | UPDRS III (97.8%) |
|  | Gait function, postural instability, balance, falls (40%) | FOG-Q (60.3%) and TUG (60.3%) |
|  | (esp. important, adults aged ≥65 years) | Relevant items from MDS-UPDRS III and MDS-UPDRS II |
|  | Motor complications (esp. important, disease duration >5-7 years) | UPDRS or MDS-UPDRS IV |
|  | Reduction in dyskinesia (29%) | Relevant items from MDS-UPDRS Part IV |
|  | Cognitive function (42%) | Stroop test (85.7%) |
|  |  | MoCA instead of or in addition to Stroop test. MDS-UPDRS I (relevant subscale) |
|  | Motor-related ADL‡ (48%) | UPDRS II or MDS-UPDRS II (47.5%) |
|  | Global change in nonmotor symptoms (16%) | MDS-UPDRS-II, MDS-NMSS |
|  | Speech function and swallowing | Relevant items from MDS-UPDRS II and MDS-NMS, Speech Intelligibility Test |
| Patient-Reported Outcomes | PD-related QoL (53%) | PDQ-39 (43.6%) |
|  | Sleep quality (10%) | PDSS-2, relevant items from MDS-UPDRS I |
| Device-Related Safety (not addressed in the CER) | More serious - Worsening gait/balance due to ataxia (DBS) - Speech/swallowing difficulties (DBS, MRgFUS, subthalamotomy) - Worsening cognition (DBS, MRgFUS, subthalamotomy) | - Mood changes, including suicidality (DBS, MRgFUS, subthalamotomy) - Hemorrhage or infection (DBS) - Need for additional surgery (DBS) Less serious Skin issues or discomfort from wrist devices and other non-invasive wearables for tremor) |
|  | Cognitive decline and mood changes esp. important in older adults (> 65 years) |  |
| ESSENTIAL TREMOR |  |  |
| Clinician-Assessed Health Outcomes | Reduction in tremor (89%) | FTM-TRS (66.1), Hand Tremor score (30.8), CRST (15.7), TETRAS (2.3%)‡ |
| Patient-Reported Outcomes | Tremor-related QoL OR tremor-related ADL (44%) | QUEST (42.2%), FTM-TRS Part C (24.4%) |
| One reviewer cautioned that the FTM-TRS is not commonly used clinically. |  |  |
| Device-Related Safety | Same as those listed for PD |  |
| Abbreviations: ADL: Activities of daily living; CRST: Clinical Rating Scale for Tremor; FOG-Q: Freezing of Gait Questionnaire; FTM-TRS: Fahn Tolosa Marin Tremor Rating Scale; MDS-NMSS: MDS Non-Motor Symptom Scale; MDS-UPDRS: Movement Disorders Society–Sponsored Revision of the UPDRS; MoCA: Montreal Cognitive Assessment; PDQ-39: Parkinson Disease’s Questionnaire-39; PDSS-2: Parkinson's Disease Sleep Scale 2nd version; QoL: Quality of life; QUEST: Quality of Life Essential Tremor Questionnaire; TETRAS: Tremor Research Group Essential Tremor Rating Assessment scale; TUG test: Time Up and Go Test; UPDRS: Unified Parkinson’s Disease Rating Scale *Prioritizaion = citation by ≥40% of studies in the systematic reviews that discussed that endpoint. For example, the systematic reviews that discussed change in motor severity collectively included 278 primary studies; 180 (64.78%) investigated change in motor severity; thus, motor severity was prioritized. †Citation volume was calculated in a manner analogous to that used for clinical endpoint citation volume. ‡PD instruments assess motor-related ADL, not the standard set of ADL. Another term used in the literature is “experiences of daily living”. ‡Due to high heterogeneity in the instruments used for assessing prioritized clinical endpoints, instruments for some prioritized endpoints did not reach the cut-off value of ≥40%. |  |  |

Table A2. All Clinical Endpoints Investigated in the Primary Studies Included in Systematic Reviews (Derived from Appendix Table B2 in the full CER)

| Clinical Endpoint | Citation Volume |
| --- | --- |
| PARKINSON’S DISEASE |  |
| Prioritized |  |
| Global change in motor severity | 65% |
| QoL | 53% |
| PD-related ADL | 48% |
| Cognitive function | 42% |
| Gait function, postural instability and balance | 40% |
| Did not meet prioritization threshold |  |
| PD medication usage | 31% |
| Dyskinesia | 29% |
| Ataxia | 10% |
| Sleep quality | 10% |
| Nonmotor symptoms | 16% |
| Physical function (e.g., balance confidence) | 10% |
| Fatigue | 5% |
| Fear of falling | 5% |
| ESSENTIAL TREMOR |  |
| Reduction of tremor | 89% |
| Impact of motor symptoms on ADL and QoL | 44% |

Table B1. Clinical Endpoints Derived from Professional Guidance Documents on Parkinson’s Disease (Table 3 in the full CER)

| Clinical Endpoints | Fox et al., (2018) (IPMDS). Updates to evidence-based int’l CPG, broad range of therapies | Odin et al., (2018) (IPMDS). Expert panel recommendations regarding how to assess use of wearable sensor devices |  | Rughani et al., (2018) (CNS/ASSFN). Evidence-based CPG on comparative effectiveness of DBS to the STN vs. GPi | Deuschl et al., (2022) (EAN and European section of the MDS). Evidence-based CPG on invasive therapies for advanced PD, including invasive administration of pharmaceuticals |  | Saba et al., (2022) (BAN). Evidence-based Brazilian CPG, pharmaceutical and DBS treatment of motor symptoms |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Clinician-Assessed Health Outcomes |  |  |  |  |  |  |  |
| Disease severity |  |  |  |  | Staging according to Hoehn and Yahr (“important”) |  |  |
| Global measures of motor symptom severity | Discussed without reference to measurement method except for a single reference to UPDRS endpoints in a pharmaceutical treatment | UPDRS (cited as a scale for purposes of assessing correlation with sensor measurements) |  | - UPDRS III - Reduction in dopaminergic medications | - UPDRS III (“critical”) - Daily dosage of anti-PD medication (levodopa mg equivalent) (“important”) |  | - UPDRS III |
| Specific aspects of motor function | Discussed without reference to measurement method; gait and balance are mentioned | - AIMS (cited as a scale for purposes of assessing correlation with sensor measurements) - Measured by sensor: bradyskinesia, tremor, dyskinesia, immobility during sleep |  | Measurement methods not specified | - Gait (“important”) - Speech (“important”) No tools recommended, but UPDRS III includes gait and speech scales. |  |  |
| Reduction in or delay of motor complications* | Discussed without reference to measurement method |  |  | Discussed without reference to measurement method | - According to UPDRS IV (“critical”) - Motor fluctuations reported by patient diary (“critical”) |  | Both reduction and delay are mentioned. |
| Cognitive function |  |  |  |  | UPDRS-I, MoCA, MMSE (“important”) |  |  |
| Mood and behavioral disorders |  | Risk marker for impulsivity measured by sensor (NOTE: This actually belongs in the Surrogate Marker domain.) |  | Depression (HDRS) Suicidality (UPDRS-I) | - HDRS (“important”) - Apathy (“important”) (No tool recommended, but UPDRS III includes an apathy scale) - Ardouin-scale, QUIP, QUIP-RS, MIDI, BIS (“important”) |  |  |
| Composite of mood, cognitive, and behavioral effects |  |  |  | Measurement methods not specified |  |  |  |
| Motor-related ADL |  |  |  | UPDRS-II | UPDRS-II (“critical”) |  | UPDRS-II |
| Patient-Reported Health Outcomes |  |  |  |  |  |  |  |
| QoL |  | Assumed to improve under continuous assessment |  | PDQ-39 | PDQ-39 or PDQ-8 (“critical”) |  |  |
| Mood and behavioral disorders |  |  |  | Depression (BDI) | Depression (BDI) (“important”) |  |  |
| Other | Reduction in falls (mentioned in the context of pharmaceutical treatment and physical therapy) |  |  |  |  |  |  |
| Safety (clinician-assessed or patient-reported) |  |  |  |  |  |  |  |
| Harmful effects | - “Acceptable risk with/without specialized monitoring” (no identification of specific risks to be considered) - Unacceptable risk |  |  | Adverse events | Serious adverse medical and surgical events (“critical”) |  | Discontinuation of treatment (tolerability) |
| Other |  |  |  |  |  |  |  |
|  |  |  |  |  |  | - Duration of response - Discontinuation of treatment (lack of efficacy) |  |
| Abbreviations: ADL: Activities of Daily Living; ASSFN: American Society for Stereotactic and Functional Neurosurgery; BAN: Brazilian Academy of Neurology; BIS: Barrett Impulsivity Scale; CNS: Congress of Neurological Surgeons; CPG: clinical practice guidelines; DBS: deep brain stimulation; EAN: European Academy of Neurology; GPi, globus pallidus interna; HDRS, Hamilton Depression Rating Scale; MDS: Movement Disorders Society; IPMDS: International Parkinson and Movement Disorders Society; MIDI: Minnesota Impulsivity-Compulsivity Disorders Interview; MoCA: Montreal Cognitive Assessment; MMSE: Mini-Mental State Examination; PD: Parkinson’s disease; PDQ: Parkinson’s Disease Questionnaire; QoL: quality of life; QUIP(-RS): Questions for Impulsivity-Compulsivity Disorders (-Rating Scale); STN: subthalamic nucleus *Motor complications are symptoms that occur after chronic treatment of PD. Key examples are motor fluctuations due to the wearing off of treatment effectiveness and levodopa-induced dyskinesia (Freitas et al., 2017). |  |  |  |  |  |  |  |

Table B2. Outcomes Identified as ‘Critical’ or ‘Important’ by the  European Academy of Neurology and European Section of the Movement Disorders Society

The following table is derived from Table App1.1a in Appendix 1 of the clinical practice guidelines published by Deuschl et al. (2022). These guidelines addressed invasive therapies for advanced PD: DBS, MRgFUS and other forms of brain lesioning, and subcutaneous or percutaneous delivery of pharmaceutical products. The guideline lists overlapped considerably with the important clinical endpoints identified either in the CER or by the three expert reviewers (see Table A1).

| Critical Outcomes (ALL APPEAR IN TABLE A1) | Important Outcomes (SOME APPEAR IN TABLE A1) |
| --- | --- |
| - Quality of life (i.e., PDQ-39 or PDQ-8) - Activities of daily living (i.e., UPDRS-II) - Motor Score (i.e., UPDRS-III) - Complications of therapy (i.e., UPDRS IV) - Motor fluctuations (i.e., patient-reported diary) - Serious adverse events (i.e., surgical, medication) | - Staging (i.e., Hoehn and Yahr) - Cognition (i.e., UPDRS-I, MoCA, MMSE)* - Depression (i.e., Beck [BDI], Hamilton [HDRS]) - Apathy - Impulsive-compulsive behaviors (i.e., Ardouin-scale, QUIP, QUIP-RS, MIDI, BIS-impulsivity) - Gait - Speech - Daily dosage anti-Parkinson’s medication (levodopa mg equivalent) |
| Abbreviations: BDI: Beck Depression Inventory; BIS: Barrett Impulsivity Scale; HDRS: Hamilton Depression Rating Scale; MIMI: Motor Impairment in Drug-induced Impulse Control Disorders; MMSE: Mini-Mental State Examination; MoCA: Montreal Cognitive Assessment; PDQ: Parkinsons’s Disease Questionnaire; QUIP(-RS): Questionnaire for Impulsive-Compulsive Disorders in Parkinson's Disease(-Rating Scale); UPDRS: United Parkinson’s Disease Rating Scale *Not mentioned by any of the other four professional guidance documents. |  |

Table C. MCID Definitions for Prioritized Clinical Endpoints (derived originally from Appendix Table C1 of the full CER)

Green-shaded boxes show additions recommended by 1 or more of 3 external experts who reviewed the full CER.

Teal-shaded boxes show additions recommended by 2 or more of 5 professional guidance documents.

MCIDs were identified in the original CER, by the expert reviewers or through supplemental literature searches.

| Clinical Endpoint* | Instruments | MCID |  |
| --- | --- | --- | --- |
| PARKINSON’S DISEASE |  |  |  |
| Domain: Clinician-Assessed Health Outcomes |  |  |  |
| Global change in motor symptom severity | MDS-UPDRS III | 3.25 points for detecting minimal, but clinically pertinent, improvement and 4.63 points for minimal, but clinically pertinent, worsening (Hungary) (Horváth et al., 2016) |  |
| Gait function, postural instability and balance | FOG-Q | MCID for improvement based on expert clinician rating was three scale points with a sensitivity of 0.67 and a specificity of 0.96 (Germany) (Fietzek et al., 2020) |  |
|  | TUG | No MCID identified |  |
| Speech function | Speech Intelligibility Test | No MCID identified |  |
| Cognitive function | Stroop test | 5.5 points (Sweden, Alzheimer’s patients) (Borland et al., 2022) |  |
|  | MoCA | 1-2 points, depending on anchor vs. distribution method and choice of anchor (Sweden) (Lindvall et al., 2024) |  |
| Depression | HDRS | HDRS-6: 3-6.2 points (Hengartner & Plöderl, 2022) HDRS-17: 3-6 points (Hengartner & Plöderl, 2022) These estimates are from 4 studies conducted in the U.S., Germany and Japan. Estimates varied depending on the clinical scale used as an anchor and whether between- or within-patient differences were being considered |  |
| Motor-related ADL | MDS-UPDRS II | 3.05 and 2.51 points for improvement and deterioration respectively (Hungary) (Horváth et al., 2017a) |  |
| Motor complications | MDS-UPDRS IV | 0.9 and 0.8 points for improvement and worsening respectively (Hungary) (Makkos et al., 2019) |  |
| Nonmotor symptoms | MDS-UPDRS-I | 2.64 and 2.45 points for improvement and deterioration respectively (Hungary) (Horváth et al., 2017a) |  |
|  | MDS-NMSS | No MCID identified |  |
| Domain: Patient-Reported Outcomes |  |  |  |
| QoL | PDQ-39 | For summary indices: -4.72 and +4.22 for detecting minimal clinically important improvement and worsening respectively (Hungary) (Hungary) (Horváth et al., 2017b) |  |
| Sleep quality (10%) | PDSS-2 | 3.44 and 2.07 points for improvement and deterioration respectively (Hungary) Horváth et al., 2015b |  |
| Depression | BDI | 3-7 points (Hengartner & Plöderl, 2022) These estimates are from 2 studies conducted in Japan. Estimates varied depending on the clinical scale used as an anchor and whether between- or within-patient differences were being considered. |  |
| ESSENTIAL TREMOR: No MCIDs were identified for frequently used or expert-recommended MCIDs. |  |  |  |
| Abbreviations: ADL: Activities of daily living; FOG-Q: Freezing of Gait Questionnaire; MCID, minimal clinically important difference; HDRS, Hamilton Depression Rating Scale; MDC: minimum detectable change; MDS-NMS: Movement Disorders Society Nonmotor Symptoms; MDS-UPDRS: Movement Disorders Society-sponsored revision of UPDRS; MoCA, Montreal Cognitive Assessment; NA: Not applicable; PD: Parkinson’s disease; PDQ: Parkinson Disease’s Questionnaire; PDSS-2: Parkinson's Disease Sleep Scale 2nd version; QoL: Quality of life; TUG: Timed Up and Go Test; UPDRS: Unified Parkinson’s Disease Rating Scale *MCID definitions associated with formal instruments were sought only for the prioritized endpoints derived from the published systematic reviews and for endpoints emphasized by at least two of the professional guidance documents but not belonging to the prioritized list. NOTE: Appendix Table C1 in the full CER provides definitions of minimal detectable change (MDC) where MCIDs could not be identified. MDCs are based on statistical considerations, i.e., variability in treatment response, rather than clinical relevance. MCDs have to do with true effect versus random result. |  |  |  |

Table D. Follow-up Duration Recommended by 3 External Expert Reviewers

Follow-up information was not captured in the CER. The following recommendations are entirely from the 3 external expert reviewers.

| Domain | Reviewer Recommendations |
| --- | --- |
| Clinician-assessed health outcomes | Reviewer 1: 3 mos Reviewer 2: - Wearables/sensors and robot-assisted gait trainers, 3 mos - rTMS, 6 mos - DBS and ablations (subthalamotomies and MRg-FUS), 1 yr Reviewer 3: 6 mos and 1 yr |
| Patient-reported outcomes | The same as for clinician-assessed health outcomes |
| Safety (clinician-assessed or patient-reported) | Reviewer 1: 1 mo Reviewer 2: - Wearables/sensors and robot-assisted gait trainers, 3 mos - rTMS, 6 mos - DBS and ablations (subthalamotomies and MRg-FUS), 1 yr Reviewer 3: 1, 3 and 6 mos |
| Device durability | Reviewer 1: 1 mo Reviewer 2: - Wearables/sensors and robot-assisted gait trainers, 6 mos - rTMS, No response - DBS, should last for ≥5 yrs - Ablations (subthalamotomies and MRg-FUS), N/A Reviewer 3: 1 yr and 2 yrs |
| Abbreviations: DBS: deep brain stimulation; MRg-FUS: MRI-guided focused ultrasound; rTMS: repetitive transcranial magnetic stimulation. |  |