## Slide 1
T. Bruce Ferguson, Jr. MD
Professor and Associate Chief
Division of Vascular and CT Surgery
East Carolina University
Chief Medical Advisor
Novadaq Technologies Inc.
Vascular angiography using florescent properties of generic dye in conjunction with proprietary high speed digital infrared photography.
CMS Coordination and Maintenance Committee Meeting
September 28, 2006, Baltimore MD

## Slide 2: Coronary Artery Bypass Today
> 350,000 Procedures/yr
> 800 hospitals
~ 3400 active US surgeons
~ 75% on-pump, 25% OPCAB
Significant decline in RA OM
(Ferguson, Circulation 2004)
Sustained Survival benefit
(Hannan, NEJM 2006)

## Slide 3: Cardiac Surgery Patients Today
Normal coronary arteries
Diseased Coronary Arteries

## Slide 4: Possible Clinical Benefits of Intra-operative Angiography in CABG
ANATOMY: Optimize Procedure Plan
  Locate and assess target vessels
EFFICACY OF REVASCULARIZATION: Optimize Results
  Assess bypass graft patency visually
  Evaluate distal outflow
  Anastomotic Revision/Repair
  Re-positioning/revising graft/anastomosis
PHYSIOLOGY: Document physiologic characteristics
  Collateral flow, competitive flow, vessel size
  Assess microvascular perfusion to coronary bed
  Determine need and location for adjunctive therapies (TMR, genetic/proteomic therapies)

## Slide 5
Real time visual imaging
100%
validation
<10%
validation
Stent
Graft
  Coronary Artery Bypass Surgery
    FDA cleared device
    (Substantially equivalent to X-ray angiography)
Have surgeons not imaged intra-operatively because the technology didn’t exist
or because there was no (perceived)
clinical need?

## Slide 6: Intra-operative Fluorescence Vascular Angiography
Occluded Graft
Revised Graft

## Slide 7
2000 + patient clinical experience
(2000-2004)
US clinical experience (2005/06)
1700 pts / 5000 + grafts in US
11 peer-reviewed journal publications
Early adoption: 50 Centers (US)
Clinical Data

## Slide 8
Would Imaging Improve CABG Quality?
Graft patency is the major determinant of freedom from repeat intervention after CABG.
PREVENT IV –
  reintervention rate over 3 years higher in patients with occluded grafts angiographically at 1 year (Alexander, JAMA 2006; 294:2446-54)
  perioperative MI associated with poorer outcome at 2 years (Yau, 2006)
  Technical errors in bypass graft construction by the operating surgeon and/or endothelial factors are primarily responsible for early failures.

## Slide 9
Desai, ND. Journal of the American College of Cardiology. 2005; 46:1521-5)
Would Imaging Improve CABG Quality?
Revision Rate:
4.2% of grafts images intra-operatively with SPY Angiography had significant problems and required major anastomotic revision and 3.5% required minor revision
Post-op Angiographic Follow up (6 pts):
Sensitivity - Peri-anastomotic lesions with >50% stenosis were observed in three grafts; sensitivity for detection was 100%
Specificity - There were no false positives, and
specificity for >50% stenosis was also 100%

## Slide 10: Reduction in Myocardial Injury During CABG
192 Matched patients in the SPY angiography group had significantly less perioperative MI (12.0% versus 20.3% in controls)
p= 0.027
P = 0.027

## Slide 11: Work Flow & Resource Allocation: Image Acquisition
Off-Pump Procedures
Pre LAD
LIMA to LAD (Additional in-situ)
Free Grafts (1 image per graft)
Proximal Anastomosis
On-Pump Procedures
Pre LAD
LIMA to LAD Post (Additional in-situ)
Free Grafts (1 image per graft)
Proximal Anastomosis
LIMA to LAD Post w/beating heart
On-Pump Procedures (Direct-To-Graft Injection)
Pre LAD
Free Grafts (1 image per graft
LIMA to LAD Post (Additional in-situ)
Proximal Anastomosis
LIMA to LAD Post w / beating heart
Average of 6 image sequences per patient

## Slide 12: Work Flow & Resource Allocation
Resource Activity | Resource | Per Sequence | Work Effort
System Setup/Drape Injection Preparation | Circulating Nurse, Scrub Nurse CN, Anesthesiologist &/or Perfusionist | n/a | 10 - 20 min
Image Capture Image Assessment | Surgeon, CN, Anesthesiologist Surgeon | 2-3 minutes 3-5 minutes | 30 - 42 min
Procedure Completion/ Documentation Records Archive | Surgeon/ CN Circulating Nurse | n/a | 10 - 12 min
Total Time (average) |  | 5-8 minutes | 50 - 74 min

## Slide 13: Work Flow & Resource Allocation: Image Interpretation
3-5 Minutes
per Sequence

## Slide 14: Post-Market Clinical Data
VICTORIA Multi-Center Clinical Registry : Visual Interpretation of Completeness and Technical
Operative Results using
Intra-operative Arteriography in Coronary Bypass Surgery
12 sites
1500 Patients
Unique clinical and image database:
  underlying clinical disease status
  perfusion
  collateral flow
  competitive flow

## Slide 15: Current Status of SPY in CABG Practice
97% Correlation of SPY IFVA with X-ray Angiography
4 - 8% Graft Revision Rate with use of SPY IFVA
41% Reduction in Myocardial Injury Rate (Desai)
11% SPY Rate of Utilization within CABG Cases at early adoption sites (range 5% - 100%)
50 US Centers (Sept. 2006)
1500 Patients - VICTORIA Multi Center Clinical Registry

## Slide 16: New Paradigm in CABG
Current CABG:
“Memory-Guided” and
“Judgment-Assessed”
Incremental Improvement
In Outcomes And Quality
Myocardial, Endothelial
Perfusion Biology
Directed, Patient-
Specific Adjunctive
Therapies (TMR)
“Image-guided
CABG”