## Slide 1: Infusion and removal of liquid radioisotope into the brain
Request for appropriate ICD-9
For Brain Cancer Treatment Procedure
Robert A. Lustig, M.D.
Clinical Associate Professor and Associate Chair
Department of Radiation Oncology
Hospital for the University of Pennsylvania

## Slide 2: Infusion and removal of liquid radioisotope into the brain
Technology not accurately described by current ICD-9-CM
Clinical overview of treatment of brain cancer
Describe inpatient admission for infusion and removal of liquid radioisotope into the brain

## Slide 3
Unique Liquid Radioactive Source (Iotrex® )
125I liquid radioactive brachytherapy source
Low Dose Rate radiation
Formulated for safety
Unique Balloon Catheter
Reservoir for radiation source
Three variable balloon sizes
Designed for safety
  “This modality is appealing because of the high spatial localization of the dose and the favorable therapeutic ratio afforded by the continuous administration of radiation at a low dose rate this spares normal brain tissue from adverse radiation effects”
  Tatter et. al., J of NS, August 2003
GliaSite Radiation Therapy System (RTS)
Notes: Balloon Catheter:
Reservoir for radiation source
  Encapsulates fluid during treatment
  Under normal conditions, up to 1% of 125I diffuses through the balloon walls over the whole course of treatment
Three variable balloon sizes
  2 cm, max fill volume = 5 cc and min fill volume = 4 cc
  3 cm, max fill volume = 15 cc and min fill volume = 7.5 cc
  4 cm, max fill volume = 35 cc and min fill volume = 17.5 cc
Designed for safety and ease-of-use
  Double wall balloon configuration
  Pre-attached, self-sealing infusion port
  Malleable titanium element
Iotrex®:
Proprietary 125I radiotherapy solution
  Developed in conjunction with Dow Chemical
  Organically bound to hydroxybenzenesulfonate (HBS)
    Decreases volatility
    Water soluble
Low Dose Rate radiation
  Maximizes potential for cell damage/death
Formulated for safety
  Decreased volatility
  Rapid dose drop-off
  Easily shielded
  Water soluble

## Slide 4: Brain Cancer Treatment Evolution and New Technology
Historical - brachytherapy showed survival benefit, but high rates of re-operation for necrosis
  Difficult to control dosing, resulting in high radionecrosis rates
GliaSite RTS addresses many of the treatment limitations associated with conventional brachytherapy
  More conformal, uniform dose delivery
GliaSite RTS allows an additional radiation dose to be delivered in a way that maximizes the patient’s quality of life while delivering a radiation dose to the tissues at greatest risk of recurrence”
Tatter et. al., J of NS, August 2003
Notes: Traditional Brachytherapy Results: Recurrent Malignant Gliomas
Study N Modality Mean Dose (Gy) Median Survival (mos.) % Reoperation for necrosis
Gutin, et. al. 66 I-125 temporary 64 11.6 56
Malkin, et. al. 36 I-125 temporary 60 10 40
Shrieve, et. al. 32 I-125 temporary 50 11.5 44
Halligan, et. al 22 I-125 permanent 210 (median) 14.8 0
The studies represented in the table illustrate a significant improvement in survival. For example, the Halligan study reported an increase in survival of 8 months for patients treated with tumor resection and brachytherapy compared to a control group of patients treated with tumor resection and chemotherapy.
Despite the clear improvement in survival for recurrent patients, the reoperation rate for tissue necrosis in the three temporary I-125 studies ranges from 44-56%. This elevated incidence of reoperation suggests that the high degree of dose inhomogeneity delivered by multiple seeds results in hot and cold spots.
This data led to the development of the GliaSite RTS, which offers the therapeutic benefits of brachytherapy but minimizes the disadvantages of catheter and seed methods.

## Slide 5: Clinical Benefits of Infusion and Removal of I-125 Iotrex (GliaSite System) to Brain
Delivers radiation to the tissue at highest risk for recurrence
Minimize harmful effects of radiation exposure to healthy brain tissue
Achieve local tumor control
Increased survival (Tatter, et al, 2003; Gabayan, et al, 2004)
Preserve quality of life (Rogers, et al, 2004)

## Slide 6
Brain Cancer Treatment with I-125 Iotrex Requires Two Hospital Admissions
Craniotomy
Craniotomy w/ Tumor resection
Catheter implant (during craniotomy)
Patient discharged
Recovery + Treatment planning and ordering of Iotrex
Patient admitted to hospital
1. Procedure
Infusion of I-125 Iotrex
3-7 days
2. Procedure
I-125 Iotrex Removed
Infusion of Radioisotope with Removal of Radioisotope and Catheter
3. Procedure
Separate surgical procedure to remove catheter
Patient discharged
Admission about 2-3 weeks following Craniotomy
Patient admitted to hospital

## Slide 7: Infusion of liquid radioisotope into the brain (Procedure 1)
Radioisotope infusion into special catheter implanted in brain
Requires a 3-7 day hospital admission
Infusion requires compliance with Nuclear Regulatory Commission (NRC) Regulations

## Slide 8: Removal of liquid radioisotope from the brain (Procedure 2)
3-7 days after infusion
Removed under local anesthesia
Patient monitored
Catheter flushed with saline
Appropriate disposal of radioisotope and contaminated materials within NRC guidelines

## Slide 9: Surgical Removal of Catheter (Procedure 3)
Patient moved to OR
General anesthesia
Catheter removal
  Incision made in scalp
  Screws removed from scalp to remove port
  Balloon end of catheter gently withdrawn through burr hole
  Patient incision carefully closed and patient moved to recovery

## Slide 10: GliaSite Iotrex I-125 NRC Licensure
Federally mandated that any facility that utilizes radioactive materials requires a license
  License must comply with specific Iotrex 1-125 guidelines
NRC regulates use and disposal of radioactive materials

## Slide 11: Infusion and removal of liquid radioisotope into the brain
Patient admitted to hospital
I-125 Iotrex infused into catheter in brain compliant with NRC Regulations
(3-7 days)
I-125 Iotrex removed from catheter in brain compliant with NRC Regulations
Surgical Removal of Catheter
Patient discharged
Procedure 1
Procedure 2
Procedure 3

## Slide 12: Infusion and removal of liquid radioisotope into brain Key Issues
Distinct inpatient admission
  Three unique procedures during admission
Procedures not described by current ICD-9
Lack of appropriate ICD-9 may impact patient access to technology

## Slide 13: ICD-9 Required
“Infusion and removal of liquid radioisotope into
the brain”