## Sheet1
Addendum D Proposed Changes to Practice Expense Equipment Description, Life, and Pricing
2004 Practice Expense Equipment Details |  |  |  | 2005 Practice Expense Supply Details (Proposed)
Equip Code | Description | Life | Price | Description | Life | Price | Equipment Category
E54006 | 22 channel EEG (split to separate systems) | 7 | 44310 | EEG, digital, prolonged testing system (computer w-remote camera) | 7 | 46750 | Other Equipment
E54006 | 22 channel EEG (split to separate systems) | 7 | 44310 | EEG, digital, standard testing system (computer hardware & software) | 7 | 21000 | Other Equipment
E54004 | 22 channel EMG-EP machine | 7 | 66650 | EMG-NCV-EP system, 8 channel | 10 | 59500 | Other Equipment
E51028 | 2-D Scanning Densitometer | 5 | 6000 | Deleted through PEAC refinement. |  |  | No Details
E55002 | 3 Channel ECG machine | 5 | 4800 | ECG, 3-channel | 7 | 1845.4167 | Other Equipment
E55005 | 3 channel ECG/BP monitor | 5 | 3895 | ECG, 3-channel (with SpO2, NIBP, temp, resp) | 7 | 4322.5 | Other Equipment
E51034 | 30 cm Water Phantom w/ Manual positioner | 5 | 2850 | Deleted through PEAC refinement. |  |  | No Details
E50002 | 35mm camera | 5 | 1150 | camera, 35mm system (medical grade) | 5 | 1106.495 | Documentation
E13623 | 37*, 60*, 90* degree oven | 10 | 682 | oven, convection (lab) | 10 | 640.725 | Laboratory
| 3-D Phantom | 5 | 1084 | phantom, 3-D | 10 | 1084 | Radiology
E51032 | 3-D Water Scanning Phantom | 5 | 56000 | Deleted through PEAC refinement. |  |  | No Details
E71025 | ABR machine, (Mikolay or Biologic) | 7 | 23000 | ABR-auditory brainstem response system | 7 | 27000 | Other Equipment
| Accelerator, 4 MV | 5 | 1600000 | accelerator, 4-6 MV | 7 | 1408491 | Radiology
| Accelerator, 6 MV | 5 | 1770708 | accelerator, 4-6 MV | 7 | 1408491 | Radiology
| Accelerator, 18 MV | 5 | 1741018 | accelerator, 6-18 MV | 7 | 1832941 | Radiology
| Accelerator, 20 MV | 5 |  | accelerator, 6-18 MV | 7 | 1832941 | Radiology
E52020 | Acusonic Sequoia C0256 | 5 | 250000 | ultrasound, echocardiography w-4 transducers (Sequoia C256) | 5 | 248000 | Other Equipment
| Adjustable computer table | 7 | 895 | table, motorized (for instruments-equipment) | 15 | 895 | Furniture
| ADL kit | 7 | 587 | kit, ADL | 10 | 586.5 | Other Equipment
| ADL kit | 10 | 586 | kit, ADL | 10 | 586.5 | Other Equipment
| aerosol machine | 5 |  | Deleted (less than $500) |  |  | No Details
| air compressor, safety | 10 | 575 | air compressor, safety | 12 | 575 | Other Equipment
E30026 | Albarran bridge | 7.5 | 975 | Albarran deflecting bridge, single channel | 3 | 988 | Scope
| alternans system, CH2000 | 8 | 29400 | cardiac monitor w-treadmill (microvolt, CH2000) | 10 | 32600 | Other Equipment
| ambulation kit (canes, walker, mirror, balance board, crutches, safety belt) | 10 | 750 | kit, ambulation | 10 | 763.7 | Other Equipment
E52015 | a-mode ultrasonic biometry unit | 5 | 6950 | ultrasonic biometry, A-scan | 5 | 5247.5 | Other Equipment
| aneroid barometer | 5 | 550 | barometer, aneroid | 7 | 587.5 | Radiology
E30025 | anesthesia machine | 7 | 49035 | anesthesia machine (w-vaporizers) | 7 | 60000 | Other Equipment
E51084 | angiographic room | 5 | 1580000 | room, angiography | 5 | 1386816 | Room - Lane
E71010 | anomaloscopes - diagnostic | 5 | 10500 | anomaloscope, diagnostic (HMC) | 10 | 6146 | Other Equipment
E13116 | anoscope & light source | 3 | 550 | anoscope with light source | 3 | 657.6183 | Scope
E51038 | Anthropomorphic Phantom | 5 | 8250 | Deleted through PEAC refinement. |  |  | No Details
E51066 | Applicator sets for HDR | 5 | 3333 | Deleted through PEAC refinement. |  |  | No Details
E51068 | Applicator sets for LDR | 5 | 2723 | Deleted through PEAC refinement. |  |  | No Details
E72001 | argon laser | 5 | 45000 | laser, argon (w-slit lamp adapter) | 5 | 32900 | Other Equipment
E72002 | argon-krypton laser | 5 | 65000 | laser, argon-kripton | 5 | 85000 | Other Equipment
E55035 | ART signal averaging machine | 7.5 | 8250 | ECG signal averaging system | 5 | 8250 | Other Equipment
| audio system, MRI | 10 | 16000 | intercom (incl. master, pt substation, power, wiring) | 10 | 1630 | Other Equipment
E71029 | audiometer | 7 | 5495 | audiometer, clinical-diagnostic | 10 | 6250 | Other Equipment
E71011 | auto lensometer | 5 | 2095 | lensometer, auto | 7 | 2995 | Other Equipment
E71026 | Autoacustic Emission Equipment | 7 | 7995 | OAE-otoacoustic emission system | 7 | 7780 | Other Equipment
E55024 | Autobox V6200 | 8 | 22985 | Vmax 62j (body plethysmograph autobox) | 8 | 21055 | Other Equipment
| automated radio frequency generator | 5 | 30000 | radiofrequency generator, TUNA procedure | 5 | 16500 | Other Equipment
E52016 | b scan ultrasonography | 5 | 24975 | ultrasonic biometry, B-scan | 5 | 12500 | Other Equipment
E13604 | balance | 7 | 2400 | balance, analytic | 10 | 4001.67 | Laboratory
| balance board | 10 | 600 | balance board | 15 | 509.6633 | Other Equipment
| balance master | 10 | 12500 | balance assessment-retraining system (Balance Master) | 5 | 13500 | Other Equipment
| balance scales | 10 | 995 | balance, scale | 7 | 768.5 | Laboratory
| balance, analytic | 7 | 5570 | balance, analytic | 10 | 4001.67 | Laboratory
E51004 | basic radiology room | 5 | 150000 | room, basic radiology | 5 | 150000 | Room - Lane
E92002 | bath tub | 10 | 1224 | bath tub | 10 | 1150 | Furniture
| bath, paraffin, institutional | 10 | 3349 | paraffin bath, hand-foot (institutional) | 7 | 2406.5 | Other Equipment
| beat-to-beat bp unit | 7 | 14900 | arterial tonometry monitor (Colin Pilot) | 7 | 14900 | Other Equipment
E50005 | Bio Impedance Body Weight Analysis Machine | 7 | 4490 | body analysis machine, bioimpedence | 10 | 2151.3167 | Other Equipment
| biohazard hood | 10 | 7612 | hood, biohazard | 10 | 6884.25 | Laboratory
| bladder scanner with cart | 5 | 11445 | ultrasound, noninvasive bladder scanner w-cart | 5 | 11450 | Other Equipment
E72005 | Blepharoplasty Tray | 4 | 1949.53 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| body analysis machine, bioimpedence | 7 | 2700 | body analysis machine, bioimpedence | 10 | 2151.3167 | Other Equipment
| Body Plethysmography Unit | 8 | 45000 | Vmax 22d and 62j (PFT equip, autobox, computer system) | 8 | 47930 | Other Equipment
| bone drill system, surgical, small bone (Stryker) | 4 | 8979 | drill system, surgical, small-micro (Stryker) | 3 | 8979 | Other Equipment
| bone saw, electric (Stryker) | 7.5 | 6080 | saw, surgical, electric (Stryker) | 10 | 6080 | Other Equipment
| BTE primus | 10 | 45820 | rehab and testing system (BTE primus) | 5 | 45820 | Other Equipment
| CAD processor unit | 8 | 210000 | CAD processor unit (mammography) | 5 | 210000 | Documentation
| Calibrated Chamber | 5 | 500 | calibration (AAPM ADCL), ion chamber | 5 | 500 | Radiology
| Calibration Computer with Software | 5 | 5500 | electrometer, PC-based, dual channel | 5 | 5675 | Radiology
| calibration equipment | 5 | 5000 | electrometer, PC-based, dual channel | 5 | 5675 | Radiology
| caloric irrigator | 7 | 4875 | caloric stimulator, air or water | 7 | 5950 | Other Equipment
E55017 | camera (autoswitching) with 16X zoom lens | 5 | 6300 | camera, remote-autoswitching | 5 | 5250 | Documentation
| camera, retinal topcon | 5 | 78000 | camera, retinal (TRC 50IX, w-ICG, filters, motor drives) | 5 | 37000 | Documentation
E13611 | carbon coater | 7.5 | 6200 | Deleted (part of new system) |  |  | No Details
| cardiac gating device | 5 | 40000 | ECG R-wave trigger (gating) device | 7 | 5671 | Other Equipment
E55016 | cardiac monitor - 12 lead- stress test monitor and treadmill | 5 | 18726 | cardiac monitor w-treadmill (12-lead PC-based ECG) | 10 | 14271.03 | Other Equipment
E53005 | Cardiac Nuclear Camera System | 7.5 | 675000 | camera system, cardiac, nuclear | 5 | 675000 | Documentation
E55018 | cardiac output monitor | 7.5 | 22790 | ICG monitoring system (impedance cardiography) | 5 | 28625 | Other Equipment
E53003 | Cardiac Phantom | 7.5 | 3990 | phantom, SPECT with cardiac insert | 10 | 3042 | Radiology
E53026 | Cardiofocal Collimators (1Set) | 5 | 29990 | collimator, cardiofocal set | 7 | 29990 | Radiology
| cardio-pulmonary stress testing system | 8 | 58751 | Vmax 29c (cardio-pulm stress test equip, treadmill, computer system) | 8 | 58751 | Other Equipment
| cardio-respiratory monitor | 5 | 12000 | ECG, 3-channel (with SpO2, NIBP, temp, resp) | 7 | 4322.5 | Other Equipment
| cart heating pan, Splint-Form 2000 | 10 | 790 | water bath, thermoplastic softener (20in x 12in) | 7 | 722.3633 | Radiology
| cart, laboratory | 10 | 585 | cart, laboratory | 10 | 677.8333 | Furniture
| cast cart | 10 | 5000 | cast cart | 10 | 3808 | Other Equipment
E30022 | cast cutter | 7 | 1295 | cast cutter | 10 | 1160.62 | Other Equipment
| cast table | 10 | 25000 | casting table attachment, hip-spica cast | 10 | 4099 | Furniture
| cast vacuum | 7 | 1476 | cast vacuum | 8 | 1475.5 | Other Equipment
| casting frame | 10 | 12500 | casting table attachment, Risser | 10 | 2538 | Furniture
E72007 | Cataract Tray | 4 | 11261.33 | Deleted through PEAC refinement. |  |  | No Details
E71112 | Central (Pod) Equipment Lane | 7 | 30442.01 | lane, central pod (oph) | 7 | 23029 | Room - Lane
E13656 | centrifuge | 7 | 3250 | centrifuge (with rotor) | 7 | 4291.6467 | Laboratory
| Cerrobend melting pots | 7 | 1500 | alloy melter, digital, 3 gallon | 7 | 1393 | Radiology
E53046 | Cesium 137 sources (6-10mg, 6-15mg, 6-20 mg, 2-25mg, 2-5mg) 3m | 7 | 43580 | Deleted through PEAC refinement. |  |  | No Details
| chair, medical recliner (chemo, phlebotomy) | 10 | 829.03 | chair, medical recliner | 10 | 829.0333 | Furniture
| chair, phlebotomy-injection | 10 | 1200 | chair, medical recliner | 10 | 829.0333 | Furniture
E91004 | Chemo couch | 10 | 895 | chair, medical recliner | 10 | 829.0333 | Furniture
E51086 | chest room | 5 | 200000 | Deleted through PEAC refinement. |  |  | No Details
E30007 | CO2 laser | 5 | 42500 | laser, CO2 (Star X) | 5 | 7795 | Other Equipment
E55025 | CO2 monitor | 7 | 7495 | CO2 respiratory profile monitor | 7 | 7995 | Other Equipment
E53002 | Colbalt-57 sheet flood source | 0.5 | 2790 | Cobalt-57 Flood Source (47cm dia) (10 mCi) | 5 | 2243 | Radiology
E53002 | Colbalt-57 sheet flood source | 7.5 | 2790 | Cobalt-57 Flood Source (47cm dia) (10 mCi) | 5 | 2243 | Radiology
E53002 | Colbalt-57 sheet flood source | 8 | 2790 | Cobalt-57 Flood Source (47cm dia) (10 mCi) | 5 | 2243 | Radiology
E13110 | colonoscope, video (SPLIT: scope and video system) | 3 | 54590 | videoscope, colonoscopy | 3 | 23650 | Scope
E13401 | colposcope | 3 | 4550 | colposcope | 8 | 3946.6667 | Scope
E71013 | computer and VDT and software | 5 | 9000 | computer and VDT and software | 5 | 9000 | Documentation
E92013 | computerized spinal range of motion device | 10 | 9995 | range of motion (spinal) device and software (Myo-Logic) | 5 | 7995 | Other Equipment
E71014 | corneal topography unit | 5 | 17950 | topography unit, corneal (Magellan) | 7 | 13495 | Other Equipment
| CPAP/BiPAP remote clinical unit | 7 |  | CPAP/BiPAP remote clinical unit | 7 |  | Other Equipment
E13609 | critical point dryer | 10 | 8000 | Deleted through PEAC refinement. |  |  | No Details
E30015 | cryostat | 7 | 13950 | cryostat | 7 | 17197.5 | Other Equipment
E30014 | cryostat knife sharpener | 7 | 6234 | microtome sharpener | 10 | 6400 | Radiology
| cryosurgery equipment package | 7.5 | 2750 | cryosurgery equipment (for liquid nitrogen) | 10 | 2394.3 | Other Equipment
| cryosurgery system, non-ophthalmic | 7.5 | 1608 | cryosurgery system, non-ophthalmic | 10 | 1607.5 | Other Equipment
| cryosurgery system, ophthalmic | 7.5 | 5245 | cryosurgery system, ophthalmic | 7 | 5245 | Other Equipment
| cryo-thermal unit | 7.5 |  | cryo-thermal unit | 10 |  | Other Equipment
| csf shunt reprogramming device (hand-held) | 5 | 1500 | CSF shunt programmer unit | 7 | 2392 | Other Equipment
E51082 | CT Room | 5 | 1000000 | room, CT | 5 | 981045 | Room - Lane
E51018 | CT-Based Virtual Simulator | 5 | 900000 | IMRT CT-based simulator | 5 | 975000 | Radiology
E13657 | cytology thin prep processor | 7.5 | 35000 | cytology thinlayer processor (ThinPrep) | 7 | 54000 | Laboratory
E51054 | Daily Output QA Device, RMI (RBA-5) | 5 | 5795 | Deleted through PEAC refinement. |  |  | No Details
E13658 | dark field microscope | 7 | 4500 | microscope, polarized (dark field) | 7 | 5374.5 | Laboratory
| data acquisition beat-to-beat analysis system | 7 | 14496 | arterial tonometry acquisition system (WR Testworks) | 7 | 14500 | Other Equipment
| data acquisition/q-sart recording system | 7 | 22228 | QSART acquisition system (Q-Sweat) | 5 | 28000 | Other Equipment
| decloaking chamber | 7.5 | 875 | decloaking chamber (DC2002) | 7 | 1249 | Laboratory
| decloaking chamber (DC2002) | 7.5 | 1249 | decloaking chamber (DC2002) | 7 | 1249 | Laboratory
E71001 | dedicated slit lamp for argon laser | 10 | 6561 | slit lamp (Haag-Streit), dedicated to laser use | 10 | 7435 | Other Equipment
| defibrillator | 5 |  | defibrillator | 5 | 2853.33 | Other Equipment
| DELETED |  |  | Deleted through PEAC refinement. |  |  | No Details
E51078 | Dental X-ray | 5 | 80000 | Deleted through PEAC refinement. |  |  | No Details
| dermatome | 5 | 4030 | dermatome, electric | 10 | 4399 | Other Equipment
E71102 | Designed for Vision loupes | 7 | 600 | loupes, standard, up to 3.5x | 7 | 836.6667 | Other Equipment
E53036 | Detector (Probe) | 5 | 14000 | Detector (Probe) | 5 | 14000 | Radiology
E51010 | DEXA Unit Dual Energy X-ray Absorptiometry | 5 | 49500 | densitometry unit, whole body, DXA | 5 | 41000 | Radiology
| dialysis access flow monitor | 5 | 10000 | dialysis access flow monitor | 5 | 10000 | Other Equipment
E13659 | diamond knife | 10 | 3100 | diamond knife (4.0-4.4mm) (electron microscopy) | 7 | 3400 | Laboratory
E13660 | diamond knife resharpener | 7 | 1795 | Deleted through PEAC refinement. |  |  | No Details
E52002 | diasonic software | 5 | 35000 | fetal monitor software | 5 | 35000 | Other Equipment
E71015 | diathermy machine | 5 | 3120 | diathermy, short wave (AutoTherm 395) | 10 | 8185 | Other Equipment
E71015 | diathermy machine | 5 | 10000 | diathermy, short wave (AutoTherm 395) | 10 | 8185 | Other Equipment
| differential analyzer | 7 | 38500 | differential analyzer, hematology | 7 | 37216.6667 | Laboratory
| differential counter, hematology | 7 | 1238 | differential tally counter, 12-channel | 5 | 672.73 | Laboratory
E52007 | Digital Aquisition Unit (Nova Microsonics Image Vue DCR or TomTec Freeland P90) | 5 | 29900 | ultrasound, echocardiography digital acquisition (Novo Microsonics, TomTec) | 5 | 29900 | Other Equipment
| digital camera | 5 | 800 | camera, digital (6 mexapixel) | 5 | 946.16 | Documentation
E51020 | Digital Camera | 5 | 300000 | Deleted through PEAC refinement. |  |  | No Details
| digital camera package | 5 | 3060 | camera, digital system, 12 megapixel (medical grade) | 5 | 3570.98 | Documentation
E13113 | digitrapper (24-hr ambulatory pH monitor by Cynectics) | 10 | 9685 | pH recorder, 24-hr ambulatory (Digitrapper) | 5 | 6900 | Other Equipment
| discogram pressure monitor | 7 |  | discogram pressure monitor | 7 | 600 | Other Equipment
| dissecting instrument kit | 5 | 596 | instrument pack, basic ($500-$1499) | 4 | 500 | Other Equipment
| DNA image analyzer (ACIS) | 7 | 200000 | DNA image analyzer (ACIS) | 7 | 200000 | Laboratory
| DNA image analyzer (ACIS) | 7.5 | 200000 | DNA image analyzer (ACIS) | 7 | 200000 | Laboratory
E30016 | doppler | 5 | 1350 | doppler (fetal or vascular) | 5 | 708.2222 | Other Equipment
| dose calibration source vial set (Cs137, Co57, and Ba137) | 5 | 1159 | dose calibration source vial set (Cs137, Co57, and Ba137) | 5 | 1159 | Radiology
E51064 | Dose Callibrator w/ Lead Glass Sheild & Ce-137 Standard | 5 | 6000 | dose calibrator (Atomlab) | 5 | 5496.6667 | Radiology
| Dosimetry software | 5 | 21000 | radiation therapy dosimetry software (Argus QC) | 5 | 21000 | Radiology
E53034 | Dual Photon Densitometer/Computer | 5 | 65000 | densitometry unit, whole body, DPA | 5 | 65000 | Radiology
| dust extractor | 10 | 1982 | dust extractor | 8 | 500 | Other Equipment
| Dynavox/Dynamyte Wireless Backup and computer backup | 7 | 549 | augmentative communication - DynaBeam access w-memory backup | 7 | 604 | Other Equipment
| Dynovox 3100 | 7 | 6995 | augmentative communication - DynaVox 3100 | 7 | 7295 | Other Equipment
E55009 | ECG Burdick EK-10 | 7 | 1985.5 | ECG, 1-channel (Burdick) | 7 | 1506 | Other Equipment
| EECP system | 5 | 180000 | EECP, external counterpulsation system | 7 | 150000 | Other Equipment
E11015 | electric bed | 12 | 2024 | bed, hospital, electric | 12 | 1746.5167 | Furniture
E11010 | electric table | 15 | 935.71 | table, motorized (for instruments-equipment).doc | 15 | 895 | Furniture
E30005 | electrocautery | 7 | 995 | electrocautery-hyfrecator, up to 45 watts | 10 | 975.08 | Other Equipment
| electrogastrography machine system | 10 | 20750 | EGG monitoring system | 7 | 32900 | Other Equipment
| electro-oculography machine | 10 | 50000 | EOG, ERG, VEP electrodiagnostic unit | 7 | 33500 | Other Equipment
| electro-retinography machine | 10 | 50000 | EOG, ERG, VEP electrodiagnostic unit | 7 | 33500 | Other Equipment
E30008 | electro-surgical device | 7 | 1225 | electrosurgical generator, up to 120 watts | 7 | 1838.4167 | Other Equipment
E13641 | embedding station | 8 | 8200 | tissue embedding center | 8 | 9096.6667 | Laboratory
| EMG biofeedback continence training system (Pathway CTS2000) | 5 | 11750 | EMG biofeedback continence training system (Pathway CTS2000) | 8 | 11750 | Other Equipment
E54012 | EMG botox | 7 | 1500 | EMG botox | 7 | 1500 | Other Equipment
E54007 | EMG Machine | 7 | 21157.5 | EMG-NCV-EP system, 2-4 channel | 10 | 18288.625 | Other Equipment
| EMG, surface system (OT, PT, clinician) (Therapist System) | 7 | 10995 | EMG, surface system (OT, PT, clinician) (Therapist System) | 8 | 9995 | Other Equipment
E13118 | endoscope, rigid, cystoscopy | 3 | 3365 | endoscope, rigid, cystoscopy | 3 | 3394 | Scope
E13402 | endoscope, rigid, hysteroscopy | 3 | 8878 | endoscope, rigid, hysteroscopy | 3 | 4990.5 | Scope
| endoscope, rigid, laryngoscopy | 3 | 5080 | endoscope, rigid, laryngoscopy | 3 | 3095.6667 | Scope
| endoscope, rigid, otology | 3 | 2456.88 | endoscope, rigid, otology | 7 | 2456.8833 | Scope
| endoscope, rigid, sigmoidoscopy | 3 | 841 | endoscope, rigid, sigmoidoscopy | 3 | 841.375 | Scope
E13126 | endoscope, rigid, sinoscopy | 3 | 5080 | endoscope, rigid, sinoscopy | 7 | 2414.1667 | Scope
| endoscope, rigid, sinoscopy | 3 | 5080 | endoscope, rigid, sinoscopy | 7 | 2414.1667 | Scope
E11005 | endoscopy stretcher | 10 | 1010 | stretcher, endoscopy | 10 | 2414 | Furniture
E71027 | ENG Recorder | 7 | 19900 | ENG recording system | 5 | 19900 | Other Equipment
| environmental module - car | 10 | 30000 | environmental module - car | 15 | 33750 | Room - Lane
| environmental module - kitchen | 10 | 50000 | environmental module - kitchen | 15 | 56250 | Room - Lane
| environmental module - the workshop | 10 | 20000 | environmental module - the workshop | 15 | 22500 | Room - Lane
| ergonomic kit | 10 | 2285 | kit, ergonomic (office) | 10 | 2285.48 | Other Equipment
E13114 | esophogeal motility monitor (physiograph ) | 10 | 22865 | Deleted through PEAC refinement. |  |  | No Details
| evaluation system for upper extremity/hand | 10 | 16500 | evaluation system for upper extremity-hand (Greenleaf) | 5 | 17495 | Other Equipment
| exam chair, reclining | 15 | 1000 | chair, medical recliner | 10 | 829.0333 | Furniture
E30006 | exam lamp | 10 | 1850 | light, exam | 10 | 1630.12 | Other Equipment
E71109 | Exam Lane | 7 | 31046.15 | lane, exam (oph) | 7 | 30453.3333 | Room - Lane
E11001 | exam table | 15 | 1360 | table, exam | 15 | 1338.1663 | Furniture
| exercise kit aquatic (boots, fins, gloves,weights, cuffs, spine safety board) | 5 | 500 | kit, aquatic exercise | 10 | 500 | Other Equipment
| exercise staircase | 10 | 870 | stairs, ambulation training | 15 | 793.6667 | Other Equipment
| exercise staircase | 15 | 870 | stairs, ambulation training | 15 | 793.6667 | Other Equipment
E71016 | external 35 mm camera with medical lenses | 5 | 10795 | camera, 35mm system (medical grade) | 5 | 1106.495 | Documentation
E51062 | External Microwave Applicators (set of 5), BSD | 10 | 7250 | Deleted through PEAC refinement. |  |  | No Details
| Farmer Chamber | 5 | 1500 | chamber, Farmer-type | 7 | 1169.375 | Radiology
E71002 | Farnsworth-Munsell 100-Hue Test or Nagel anomoscoope, McBeth light | 7.5 | 556 | Farnsworth-Munsell 100-Hue color vision test w/software | 7 | 626.5 | Other Equipment
E13404 | fetal monitor | 5 | 9435 | fetal monitor | 5 | 5415.9546 | Other Equipment
E11006 | fiberoptic exam light (combine with source) | 10 | 608.75 | light, fiberoptic headlight w-source | 5 | 1992.9167 | Other Equipment
E13123 | fiberscope, flexible, bronchoscopy | 3 | 9700 | fiberscope, flexible, bronchoscopy | 3 | 14175 | Scope
| fiberscope, flexible, bronchoscopy | 3 | 14175 | fiberscope, flexible, bronchoscopy | 3 | 14175 | Scope
| fiberscope, flexible, bronchoscopy w-forceps (SPLIT: Scope/Forceps) | 3 | 10943.33 | fiberscope, flexible, bronchoscopy | 3 | 14175 | Scope
| fiberscope, flexible, cystoscopy | 3 | 7410 | fiberscope, flexible, cystoscopy | 3 | 7408.3333 | Scope
E13117 | fiberscope, flexible, cystoscopy, with light source | 3 | 7760 | fiberscope, flexible, cystoscopy, with light source | 3 | 9082.5 | Scope
E13124 | fiberscope, flexible, rhinolaryngoscopy | 3 | 5080 | fiberscope, flexible, rhinolaryngoscopy | 3 | 6301.9333 | Scope
| fiberscope, flexible, rhinolaryngoscopy | 3 | 5080 | fiberscope, flexible, rhinolaryngoscopy | 3 | 6301.9333 | Scope
E13101 | fiberscope, flexible, sigmoidoscopy | 3 | 5803 | fiberscope, flexible, sigmoidoscopy | 3 | 5803.3333 | Scope
| fiberscope, flexible, sigmoidoscopy | 3 | 5803 | fiberscope, flexible, sigmoidoscopy | 3 | 5803.3333 | Scope
E13121 | fiberscope, flexible, ureteroscopy | 3 | 12920 | fiberscope, flexible, ureteroscopy | 3 | 12595 | Scope
| film alternator | 10 | 30000 | film alternator (motorized film viewbox) | 10 | 27500 | Radiology
| Film Densitometer | 5 | 1580 | densitometer, film | 5 | 1435 | Radiology
| film dosimetry equipment for IMRT | 5 | 28500 | film dosimetry equipment-software (RIT) | 5 | 30840 | Radiology
| film printer, laser | 5 | 45000 | film processor, dry, laser | 8 | 69950 | Documentation
| film processor, precision calibrated | 8 | 25000 | film processor, wet | 8 | 26325 | Documentation
| fistula probes, set of 4 | 5 | 560 | Deleted (less than $500) |  |  | No Details
E13616 | flow cytometer | 5 | 11000 | flow cytometer | 5 | 119850 | Laboratory
E13639 | fluorescence microscope | 7 | 12000 | microscope, fluorescence | 7 | 9468.475 | Laboratory
E51070 | Fluroscopic unit, Mobile C-Arm | 5 | 205000 | fluoroscopic system, mobile C-Arm | 8 | 73000 | Radiology
| food models | 5 | 700 | food models | 4 | 700 | Other Equipment
E30021 | foot & ankle surgery instrument pack | 4 | 1530.4 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| forceps, biopsy | 4 | 1310 | endoscope forceps, biopsy | 3 | 1243.3333 | Scope
| forceps, grasping | 4 | 735 | endoscope forceps, grasping | 3 | 745.6667 | Scope
E71103 | full diameter trial lens set | 7.5 | 1180 | lens set, trial, full diameter, w-frame | 10 | 904.93 | Other Equipment
E13613 | fume hood | 10 | 6500 | hood, fume | 15 | 4778.46 | Laboratory
| gamma counter, automatic | 7.5 | 17900 | gamma counter, automatic | 7 | 17665 | Radiology
E71003 | Ganzfeld stimulator | 10 | 45000 | Ganzfeld stimulator | 7 | 8750 | Other Equipment
| gas cylinders | 5 | 8000 | laser gas cylinder (for excimer) | 5 | 1140 | Other Equipment
E13104 | gastro cautery unit | 7 | 5450 | electrosurgical generator, gastrocautery | 7 | 11375 | Other Equipment
E13106 | gastroscope video (SPLIT: scope and video system) | 3 | 52990 | videoscope, gastroscopy | 3 | 21598.3333 | Scope
E55022 | Gating Device | 5 | 3625 | ECG R-wave trigger (gating) device | 7 | 5671 | Other Equipment
| generator, constant current | 3 | 950 | generator, constant current | 20 | 950 | Other Equipment
| glucose monitor continuous (incl.accessories) | 5 | 2613 | glucose continuous monitoring system | 5 | 2465 | Other Equipment
E13666 | GLX linear stainer | 7.5 | 6995 | slide stainer, automated, standard throughput | 7 | 8265.6422 | Laboratory
E13637 | grossing station | 10 | 23391 | grossing station w-heavy duty disposal | 20 | 20175.5 | Laboratory
| halogen light (Edit light type) | 5 | 5080 | light source, xenon | 5 | 6723.3333 | Other Equipment
| halogen light cable | 5 |  | Deleted (part of new system) |  |  | No Details
| hand dexterity/sensory/strength kit | 7 | 1407 | kit, hand dexterity, sensory, strength | 10 | 1561.4 | Other Equipment
| Hand Held Voice | 7 | 645 | augmentative communication - Hand Held Voice | 7 | 695 | Other Equipment
| Hand Measurement Kit (dynamometers, goniometers, etc) | 7 | 600 | kit, hand evaluation | 10 | 617.65 | Other Equipment
| hand-case instrument set | 4 | 2000 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
E51072 | HDR Afterload System, Nucletron - Oldelft | 5 | 375000 | HDR Afterload System, Nucletron - Oldelft | 7 | 375000 | Radiology
| headmaster adapters (Accessibility) | 5 | 1675 | augmentative communication - HeadMaster w-adapters | 7 | 1695 | Other Equipment
E53006 | Heavy Duty Imaging Table | 7.5 | 4550 | table, imaging | 15 | 5188.3333 | Furniture
| heavy-duty disposer | 5 | 1506 | Deleted (part of new system) |  |  | No Details
E71037 | hilger nerve stimulator | 7.5 | 1805 | Deleted through PEAC refinement. |  |  | No Details
E55008 | Holter Monitor | 7 | 2590 | holter monitor | 7 | 1413.425 | Other Equipment
E55015 | Holter monitor reader | 7 | 14995 | holter analysys system | 7 | 8815.575 | Other Equipment
E55015 | Holter monitor reader | 7 | 14995 | holter system with one recorder | 7 | 11303.9 | Other Equipment
| hood, biohazard | 10 | 7612 | hood, biohazard | 10 | 6884.25 | Laboratory
| hot wire cutter, Heustis | 7 | 28600 | Huestis block cutting machine w-attachments | 15 | 22030 | Radiology
E92016 | Hubbard tank | 15 | 17000 | whirlpool (Hubbard tank) | 10 | 15195 | Furniture
E71005 | Humphrey field analyzer (or octopus) | 7.5 | 27950 | Humphrey field analyzer | 7 | 27000 | Other Equipment
E92006 | hydroculator, cold | 10 | 1675 | hydrocollator, cold | 10 | 1910.5 | Other Equipment
E92007 | hydroculator, hot | 10 | 1265 | hydrocollator, hot | 10 | 1090.1667 | Other Equipment
E55033 | Hydrogen gas analyzer | 7.5 | 6117 | breath hydrogen analyzer (MicroLyzer) | 8 | 4895 | Other Equipment
| hyperbaric chamber | 10 | 125000 | hyperbaric chamber | 15 | 125000 | Other Equipment
E13652 | image analyzer (CAS system) | 5 | 92000 | image analyzer (CAS system) | 5 | 92000 | Laboratory
| Immittance bridge | 7 | 6900 | immittance, middle-ear analyzer | 10 | 4995 | Other Equipment
| impedance meter | 7 | 1312 | impedance meter, 32-channel | 7 | 1120 | Other Equipment
| IMRT physics tools | 5 | 55485 | IMRT physics tools | 5 | 55485 | Radiology
E92012 | inclinometer | 10 | 520 | Deleted (less than $500) |  |  | No Details
| incubator | 10 | 795 | incubator | 10 | 837.3 | Laboratory
E13631 | incubator (CO2) | 10 | 6000 | incubator, CO2 (dry-wall) | 10 | 5842.9867 | Laboratory
| infrared ceiling lamps/temperature control | 3 | 2000 | light, infra-red, ceiling mount | 10 | 555 | Other Equipment
E30023 | infrared coagulator | 7 | 3550 | infrared coagulator (with hand applicator) | 10 | 3087.5 | Other Equipment
| infrared illuminator | 7 | 1050 | Deleted (part of new system) |  |  | No Details
E91001 | infusion pump | 10 | 4150 | IV infusion pump | 10 | 2384.45 | Other Equipment
| INR monitor, home | 4 | 2000 | INR monitor, home | 5 | 2000 | Other Equipment
| instrument pack, basic (auricle) | 4 | 500 | instrument pack, basic ($500-$1499) | 4 | 500 | Other Equipment
| instrument pack, basic (EPF) | 4 | 1200 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| instrument pack, basic (surgery) | 4 | 500 | instrument pack, basic ($500-$1499) | 4 | 500 | Other Equipment
| instrument pack, medium (ear) | 4 | 1500 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| instrument pack, medium (intraoral biopsy) | 4 | 1500 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| instrument pack, medium (nasal endoscopy) | 4 | 1500 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| instrument pack, medium (nasal) | 4 | 1500 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| instrument pack, medium (otology POV) | 4 | 1500 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| instrument pack, medium (surgery) | 4 | 1500 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
E92009 | Intellect High Voltage electrical stimulator | 10 | 1395 | electrotherapy stimulator, high volt, 2 channel | 7 | 1923 | Other Equipment
| Intellikeys | 7 | 525 | augmentative communication - IntelliKeys, Overlay, ClickIt | 7 | 560 | Other Equipment
E92020 | Intercom | 10 | 10000 | intercom (incl. master, pt substation, power, wiring) | 10 | 1630 | Other Equipment
| intestinal imaging workstation | 7 | 25400 | intestinal imaging workstation | 5 |  | Other Equipment
E51042 | Ion Chamber Array | 5 | 6445 | Deleted through PEAC refinement. |  |  | No Details
E71030 | iontophoresis machine | 7.5 | 1500 | iontophoresis machine | 8 | 995 | Other Equipment
| isoalign device | 5 | 950 | isocentric beam alignment device | 5 | 995 | Radiology
E92014 | isokinetic strenghthening equipment | 10 | 29823 | exercise equipment (treadmill, bike, stepper, UBE, pulleys, balance board) | 15 | 12710 | Other Equipment
| isokinetic testing equipment | 7 | 45820 | rehab and testing system (BTE primus) | 5 | 45820 | Other Equipment
E50003 | isokinetometer | 10 | 11995 | isokinetic evaluation system (Cybex NORM) | 5 | 39900 | Other Equipment
E91008 | IVAC Injection Automatic Pump | 5 | 2500 | IVAC Injection Automatic Pump | 10 | 2500 | Other Equipment
E55010 | King of Hearts-20 (Instromedix) | 7 | 1750 | Deleted through PEAC refinement. |  |  | No Details
| kit, capsule endoscopy recorder |  | 6950 | kit, capsule endoscopy recorder | 10 | 6950 | Other Equipment
| lacrimal probes | 4 |  | Deleted (less than $500) |  |  | No Details
| laryngeal injector | 4 | 1032 | kit, laryngeal injector | 3 | 1032 | Other Equipment
E13405 | laser | 5 | 23500 | laser (gs, uro, obg, ge) (Indigo Optima) | 5 | 59890 | Other Equipment
| laser generator | 5 | 54890 | laser (gs, uro, obg, ge) (Indigo Optima) | 5 | 59890 | Other Equipment
| laser printer for CT angiography | 5 | 71400 | film processor, dry, laser | 8 | 69950 | Documentation
| Laser Targeting System | 5 | 11625 | laser targeting system (4 diodes) | 5 | 10350 | Radiology
| laser, ablation (gs, uro, obg, ge) (Indigo Optima) | 5 | 59890 | laser (gs, uro, obg, ge) (Indigo Optima) | 5 | 59890 | Other Equipment
| laser, diode, for patient positioning (Probe) | 5 | 7678 | laser, diode, for patient positioning (Probe) | 5 | 7678 | Radiology
| laser, excimer | 5 | 155000 | laser, excimer | 5 | 160000 | Other Equipment
E53001 | lead safe | 20 | 3375 | safe, storage, lead-lined | 15 | 3850 | Radiology
E13403 | LEEP system | 7 | 4670 | electrosurgical system (w-smoke evac) (LEEP, Quantum) | 7 | 4283 | Other Equipment
E55014 | life signs receiving center | 7 | 3800 | pacemaker receiving software (GEMS Lite) | 5 | 3995 | Other Equipment
| lift, chair and sling | 10 | 3000 | lift, hydraulic, chair | 10 | 4848.65 | Furniture
| lift, hydraulic | 10 | 4730 | lift, hydraulic, chair | 10 | 4848.65 | Furniture
| light for photodynamic therapy, 400MW (BLU-U) | 5 | 15759 | light, external PDT, w-probe set (LumaCare) | 5 | 8810 | Other Equipment
E13122 | light source (combine with headlight) | 3 | 1700 | light, fiberoptic headlight w-source | 5 | 1992.9167 | Other Equipment
| light, infrared | 3 | 500 | light, infra-red, pole mount | 10 | 512.5 | Other Equipment
| light, ultraviolet | 3 | 630 | light, ultra-violet | 10 | 618.215 | Other Equipment
E51056 | Linear Accelerator - Cliniac-2100 | 5 | 1600000 | accelerator, 6-18 MV | 7 | 1832941 | Radiology
E30010 | Liquid Nitro Tank w/ Cryac | 10 | 1529 | cryosurgery system, non-ophthalmic | 10 | 1607.5 | Other Equipment
E30024 | lithotriptor | 5 | 1375000 | lithotriptor, with C-arm (ESWL) | 5 | 440000 | Other Equipment
E11001 | low mat table | 10 | 5000 | table, mat, hi-lo, 6 x 8 platform | 15 | 4521.6667 | Furniture
| low mat table | 10 | 5000 | table, mat, hi-lo, 6 x 8 platform | 15 | 4521.6667 | Furniture
| mammatome driver | 5 | 27750 | breast biopsy device w-system (Mammotome) | 5 | 29862 | Other Equipment
| mammography cassettes (4) | 5 |  | Deleted (less than $500) |  |  | No Details
E51016 | Mammography Room | 5 | 130000 | room, mammography | 5 | 130000 | Room - Lane
| mayo stand | 7 | 585 | mayo stand | 15 | 530.7613 | Furniture
E30019 | McGrowan ligator/Bander | 7 | 625 | Deleted through PEAC refinement. |  |  | No Details
E92010 | mechanical traction | 10 | 2090 | traction system (hi-low table, digital unit, accessories) | 10 | 5654.8267 | Other Equipment
| medium energy collimator (siemens 05232868) | 5 | 14000 | collimator, medium energy (set of 2) | 7 | 14000 | Radiology
E13608 | microprobe EDS x-ray analysis | 7 | 42500 | Deleted (part of new system) |  |  | No Details
E13662 | Microscope camera Konan SP 9000 | 5 | 6995 | camera system, specular microscope | 5 | 26100 | Laboratory
E13601 | microscope, compound | 7 | 11600 | microscope, compound | 7 | 11621.35 | Laboratory
E13606 | microscope, dissecting | 7 | 1700 | microscope, binocular - dissecting | 7 | 956 | Laboratory
E13618 | microtome | 7 | 31500 | microtome | 7 | 13369 | Radiology
E13619 | microtome knife sharpener | 7 | 7200 | microtome sharpener | 10 | 6400 | Radiology
| microwave | 10 |  | diathermy, microwave | 10 |  | Other Equipment
E51060 | Microwave Hypothermia System, BSD | 10 | 550000 | Deleted through PEAC refinement. |  |  | No Details
| mimic/controllers/crane | 5 | 448680 | collimator, multileaf system w-autocrane (MIMiC) | 7 | 355030 | Radiology
E72004 | Minor Equipment Pack | 4 | 1082.95 | instrument pack, basic ($500-$1499) | 4 | 500 | Other Equipment
E72006 | Minor Surgical Pack | 4 | 1596.88 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
E30020 | minor surgical tray | 4 | 572.2 | instrument pack, basic ($500-$1499) | 4 | 500 | Other Equipment
E53008 | Mobile Source Storage Safes | 20 | 3650 | Deleted through PEAC refinement. |  |  | No Details
E92017 | mobolization/manipulation table | 10 | 9315 | table, mobolization-manipulation (Lloyd's) | 15 | 8195 | Furniture
| motor coordination kit | 10 | 643 | kit, motor coordination | 10 | 643.75 | Other Equipment
| Mount/wheel chair | 7 | 830 | augmentative communication - DynaVox wheelchair mount.doc | 7 | 765 | Other Equipment
E51058 | MR Room | 5 | 3140000 | room, MR | 5 | 1961375 | Room - Lane
| nasal pressure transducer | 7 | 525 | transducer, pressure, airflow sensor | 7 | 582.5 | Other Equipment
| naturally speaking software, dragon (Accessibility) | 5 | 696 | augmentative communication - Dragon Naturally-Speaking | 7 | 699.95 | Other Equipment
E91010 | Negative Flow Hood | 10 | 2000 | hood, negative flow | 15 | 2400 | Laboratory
E30028 | nerve stimulator | 7.5 | 523.8 | nerve stimulator (eg, for nerve block) | 7 | 572.3 | Other Equipment
E12002 | neurobehavioral status instrument-average | 7.5 | 717 | neurobehavioral status instrument-average | 5 | 717 | Other Equipment
| new item |  |  | biofeedback equipment | 8 |  | Other Equipment
| new item |  |  | blood warmer | 7 | 3840 | Other Equipment
| new item |  |  | breast biopsy imaging system, stereotactic (imager, table, software) | 5 | 234000 | Other Equipment
| new item |  |  | camera, digital system, for electron microscopy | 5 | 41000 | Documentation
| new item |  |  | cell separator system | 6 | 59320 | Other Equipment
| new item |  |  | chair, thyroid imaging | 10 | 2200 | Furniture
| new item |  |  | CO2 infrared analyzer (COSMO) | 7 | 4500 | Other Equipment
| new item |  |  | computer workstation, 3D hyperthermia treatment planning | 5 | 98000 | Documentation
| new item |  |  | computer workstation, 3D radiation treatment planning | 5 | 130216.5 | Documentation
| new item |  |  | computer workstation, 3D reconstruction CT-MR | 5 | 45926 | Documentation
| new item |  |  | computer workstation, brachytherapy treatment planning | 5 | 105403 | Documentation
| new item |  |  | computer workstation, cardiac cath monitoring | 5 | 94000 | Documentation
| new item |  |  | computer workstation, MRA post processing | 5 |  | Documentation
| new item |  |  | contrast media warmer | 7 | 552 | Other Equipment
| new item |  |  | cortical bipolar-biphasic stimulating equipment | 7 |  | Other Equipment
| new item |  |  | crash cart (unstocked) | 10 | 868.5 | Furniture
| new item |  |  | cryosurgical probe, retina | 7 | 1984 | Other Equipment
| new item |  |  | defibrillator w-ECG monitor | 5 | 3150.67 | Other Equipment
| new item |  |  | densitometry unit, peripheral, SXA | 5 | 22096 | Radiology
| new item |  |  | densitometry unit, peripheral, ultrasound | 5 | 13225 | Radiology
| new item |  |  | dermabrader (Osada) | 10 | 1590 | Other Equipment
| new item |  |  | drill, ophthalmology | 3 |  | Other Equipment
| new item |  |  | EEG analysis software | 5 | 82000 | Other Equipment
| new item |  |  | EEG monitor, digital, portable | 7 |  | Other Equipment
| new item |  |  | electroconvulsive therapy machine | 5 |  | Other Equipment
| new item |  |  | external fixation, craniofacial halo (BlueDevice) | 4 | 5146 | Other Equipment
| new item |  |  | external fixation, mandible (Joe Hall Morris) | 4 | 4508 | Other Equipment
| new item |  |  | gamma camera system, single-dual head | 5 | 406816.8 | Radiology
| new item |  |  | hyperthermia system, RF-deep and microwave | 5 | 790353 | Radiology
| new item |  |  | hyperthermia system, ultrasound, external | 5 | 360000 | Radiology
| new item |  |  | hyperthermia system, ultrasound, intracavitary | 5 | 250000 | Radiology
| new item |  |  | intracavitary applicator set (tandem and ovoids) | 4 | 10321.5 | Radiology
| new item |  |  | intra-compartmental pressure monitor device | 7 | 1737 | Other Equipment
| new item |  |  | lens set, fitting, low vision | 10 | 4750 | Other Equipment
| new item |  |  | liposorber system | 7 | 7800 | Other Equipment
| new item |  |  | mammography reporting software | 5 |  | Documentation
| new item |  |  | manometry system (computer, transducers, catheter) | 5 | 39400 | Other Equipment
| new item |  |  | micropigmentation (tattoo) system | 7 | 2550 | Other Equipment
| new item |  |  | microscope, electron, transmission (TEM) | 7 | 319290 | Laboratory
| new item |  |  | microtome, ultra | 7 | 25950 | Radiology
| new item |  |  | nuclide rod source set | 5 | 1395 | Radiology
| new item |  |  | oximeter, whole blood | 5 | 6950 | Other Equipment
| new item |  |  | oxygen system, portable | 8 | 569.89 | Other Equipment
| new item |  |  | phantom, mammography-accreditation | 10 | 674 | Radiology
| new item |  |  | phantom, QCT densitometry | 10 | 5464 | Radiology
| new item |  |  | pump, water perfusion (for manometry) | 7 | 7307 | Other Equipment
| new item |  |  | radiation L-block tabletop shield | 10 | 725 | Radiology
| new item |  |  | radiusgauge | 7 | 1234 | Other Equipment
| new item |  |  | resectoscope, continuous flow | 3 | 1200 | Scope
| new item |  |  | RGP lens modification unit | 7 | 540 | Other Equipment
| new item |  |  | rhinomanometer system (w-transducers and software) | 7 | 10800 | Other Equipment
| new item |  |  | sleep screening system, ambulatory (incl. hardware, software) | 5 | 14877.25 | Other Equipment
| new item |  |  | stepper, stabilizer, template (for brachytherapy treatment) | 7 | 18550 | Radiology
| new item |  |  | stirrups (for brachytherapy table) | 10 | 3876 | Radiology
| new item |  |  | stretcher chair | 10 | 3133 | Furniture
| new item |  |  | table, brachytherapy treatment | 15 | 28900 | Furniture
| new item |  |  | table, cystoscopy | 15 |  | Furniture
| new item |  |  | thyroid uptake system | 5 | 13995 | Radiology
| new item |  |  | urethrotome, optical | 3 | 1881 | Scope
| new item |  |  | vacuum deposition system (Auto306) | 7 | 38070 | Laboratory
| new item |  |  | x-ray, dental, intra-oral | 5 | 3869 | Radiology
| new item |  |  | x-ray, dental, panoramic | 5 | 24405 | Radiology
| Non-amplified auditory trainer | 7 | 1295 | augmentative communication - auditory trainer | 7 | 1096 | Other Equipment
E13406 | NST, Non Stress Test | 5 | 8878 | fetal monitor | 5 | 5415.9546 | Other Equipment
| nuclear pharmacy management software (w-computer and printer) (NMIS) | 5 | 13400 | computer workstation, nuclear pharmacy management (hardware and software) | 5 | 13400 | Documentation
| Nucleus Crystal Integrity Testing System | 7 | 9450 | cochlear implant testing system | 10 | 9500 | Other Equipment
| Nucleus PCI | 7 | 8000 | cochlear implant programming system | 7 | 9000 | Other Equipment
| nutrition therapy software | 5 | 500 | nutrition therapy software (Nutritionist Pro) | 5 | 595 | Other Equipment
E13102 | Olympus halogen light | 3 | 950 | Deleted (part of new system) |  |  | No Details
E30013 | operating microscope | 7 | 5400 | microscope, operating | 7 | 7047.5 | Other Equipment
E71019 | ophthalmic telebinocular | 7.5 | 1025 | telebinocular, ophthalmic | 7 | 1014.33 | Other Equipment
| optical coherence biometer | 5 | 25950 | Deleted through PEAC refinement. |  |  | No Details
| optical disk reader | 5 | 4000 | optical drive (MO), external | 5 | 2050 | Documentation
| optical fibers | 5 | 3236 | laser optical delivery system (for excimer) | 5 | 1500 | Other Equipment
| Orthovoltage Machine | 5 | 140000 | orthovoltage radiotherapy system | 5 | 140000 | Radiology
| OSHA ventilated hood | 10 | 5000 | OSHA ventilated hood | 15 | 5000 | Radiology
E13602 | osmometer | 7 | 4595 | Deleted through PEAC refinement. |  |  | No Details
| otoscope-ophthalmoscope | 3 | 505 | otoscope-ophthalmoscope (wall unit) | 10 | 694 | Other Equipment
E54008 | Oxford PT recorder | 7 | 6940 | EEG recorder, ambulatory | 7 | 6940 | Other Equipment
E54009 | Oxford review station | 7 | 44950 | EEG review station, ambulatory | 5 | 44950 | Other Equipment
| Oximetry Recorder, overnight/software | 5 | 3660 | pulse oxymetry recording software (prolonged monitoring) | 5 | 3660 | Other Equipment
| oxygen concentrator | 15 | 3806 | oxygen concentrator (5-6 lpm) | 8 | 1035.8333 | Other Equipment
| oxygen tank | 10 |  | Deleted (less than $500) |  |  | No Details
E55027 | Oxygen uptake expired gas analyzer | 7 | 46000 | Vmax 229 (PFT equip, computer system) | 8 | 44681 | Other Equipment
| pacemaker follow-up system (e.g. paceart) | 7 | 22000 | pacemaker follow-up system (incl software and hardware) (Paceart) | 7 | 23507 | Other Equipment
E71020 | pachometer | 5 | 3650 | ultrasonic biometry, pachymeter | 5 | 3945 | Other Equipment
E13638 | paraffin dispenser | 7.5 | 995 | paraffin dispenser (two-gallon) | 10 | 1520 | Laboratory
| paraffin dispenser, 5 gal. | 7 | 1995 | paraffin dispenser (five-gallon) | 10 | 2222.5 | Laboratory
E92011 | parallel bars | 15 | 1755 | parallel bars, platform mounted | 15 | 1670.6667 | Other Equipment
| PC server | 5 | 25000 | computer, server | 5 | 25000 | Documentation
E52003 | Pentium computer | 5 | 2800 | computer, desktop, w-monitor | 5 | 2501 | Documentation
| percutaneous neuro test stimulator | 4 | 795 | percutaneous neuro test stimulator | 7 | 795 | Other Equipment
| peripheral QCT scanner | 5 | 55000 | densitometry unit, peripheral, QCT | 5 | 79000 | Radiology
| pessary stock kit | 10 | 1824 | Deleted (less than $500) |  |  | No Details
E13603 | pH meter | 7 | 1000 | pH conductivity meter | 10 | 1028 | Laboratory
| photochemotherapy unit & lamps (200 ea/yr) | 5 | 32000 | phototherapy unit, whole body, UVA-UVB | 10 | 12975 | Other Equipment
| photochemotherapy unit, hand/foot combo | 5 | 1525 | phototherapy unit, hand-foot, UVA-UVB | 10 | 1675 | Other Equipment
E13620 | photographic enlarger | 10 | 15000 | photographic enlarger | 5 | 3195 | Documentation
E13621 | photographic film processor | 10 | 6000 | film processor (electron microscopy) | 8 | 4400 | Laboratory
| physician analysis and viewing station | 7.5 | 35000 | computer workstation, nuclear medicine analysis-viewing | 5 | 55097 | Documentation
| physician analysis/viewing station | 10 | 35000 | computer workstation, nuclear medicine analysis-viewing | 5 | 55097 | Documentation
| physics support package for intensity modulated radiotherapy | 5 | 12500 | Deleted (weekly training cost) |  |  | No Details
E91011 | Plasma pheresis machine w/UV light source | 7.5 | 37900 | plasma pheresis machine w/UV light source | 6 | 37900 | Other Equipment
E11009 | pneumatic chairs | 15 | 697.6 | Deleted (less than $500) |  |  | No Details
| pneumatic tourniquet device | 5 |  | tourniquet system (Zimmer1200) | 7 | 10220 | Other Equipment
| pool cleaner | 10 | 1500 | pool cleaner | 15 | 1372.15 | Other Equipment
E11003 | Power Table | 7.5 | 6939 | table, power | 10 | 6153.63 | Furniture
E11003 | Power Table | 10 | 6939 | table, power | 10 | 6153.63 | Furniture
E11003 | Power Table | 15 | 6939 | table, power | 10 | 6153.63 | Furniture
E13622 | print washer | 10 | 670 | Deleted through PEAC refinement. |  |  | No Details
| Printer (HP) | 5 | 1200 | printer, laser, paper | 5 | 1199 | Documentation
| printer, dye, sublimated | 5 | 15000 | printer, dye sublimation (photo, color) | 5 | 2322.5 | Documentation
| printer, laser for CT | 5 | 75000 | film processor, dry, laser | 8 | 69950 | Documentation
| printer, laser for CT angiography | 5 | 71400 | film processor, dry, laser | 8 | 69950 | Documentation
E51080 | Processor (wet or dry) | 8 | 55000 | film processor, wet | 8 | 26325 | Documentation
E55011 | Programmer: Intermedics | 7 | 10000 | Deleted through PEAC refinement. |  |  | No Details
E55013 | Programmers for Pacemakers | 7 | 10000 | programmer, pacemaker | 7 | 10000 | Other Equipment
E55012 | Programmers: Medtronic, CPI, Ventritex | 7 | 11000 | programmer, for implanted medication pump (spine) | 7 | 1975 | Other Equipment
E55012 | Programmers: Medtronic, CPI, Ventritex | 7 | 11000 | programmer, neurostimulator (w-printer) | 7 | 1975 | Other Equipment
E54011 | Pt. Bedroom Furniture | 12 | 1824 | bedroom furniture (hospital bed, table, reclining chair) | 12 | 2416.99 | Furniture
E30011 | pulse dye laser | 5 | 125000 | laser, pulse dye | 5 | 78500 | Other Equipment
E55003 | pulse oximeter | 5 | 885 | pulse oximeter w-printer | 7 | 1207.18 | Other Equipment
| Radiation Source Meter | 7 | 600 | Deleted through PEAC refinement. |  |  | No Details
| Radiation Survey Meter | 7 | 1117 | radiation survey meter | 8 | 756.25 | Radiology
| radiofrequency generator (NEURO) | 7 | 32900 | radiofrequency generator (NEURO) | 5 | 32900 | Other Equipment
E51005 | Radiographic/ fluoroscopic room | 5 | 475000 | room, radiographic-fluoroscopic | 5 | 475000 | Room - Lane
E51030 | Radiographic/Fluroscopic Evaluation Unit, RMI 4000 | 5 | 15995 | Deleted through PEAC refinement. |  |  | No Details
| radiopharmaceutical receiving area | 5 | 51545 | Deleted (split into separate equipment items) |  |  | No Details
E11011 | reclining exam chair with headrest | 10 | 4495 | chair with headrest, exam, reclining | 15 | 4836.3333 | Furniture
E51022 | Record and verify Computer (Varian) | 5 | 60000 | computer system, record and verify | 5 | 60000 | Documentation
| remote monitoring service | 7 | 9500 | remote monitoring service (neurodiagnostics) | 5 | 9500 | Other Equipment
| respiratory plethysmograph | 7 |  | Deleted (part of new system) |  |  | No Details
| retractor, hand | 4 | 1566.2 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
E54010 | review master | 7 | 23500 | review master | 5 | 23500 | Other Equipment
| review software (e.g. Prosolve) | 5 | 8000 | ultrasound, echocardiography analyzer software (ProSolv) | 5 | 8000 | Other Equipment
E52013 | Review Station: AG7300 SVHS,17in. | 5 | 899.99 | video SVHS VCR (medical grade) | 5 | 1250 | Documentation
E71036 | Rhinomenometer | 7.5 | 3150 | Deleted through PEAC refinement. |  |  | No Details
E72010 | Rigid Bone fixation system | 7.5 | 20000 | Deleted through PEAC refinement. |  |  | No Details
E52014 | Rigiscan | 7.5 | 12500 | nocturnal penile tumescence monitor (Rigiscan Plus) | 7 | 9000 | Other Equipment
E13642 | robotic cover slipper | 7.5 | 32288 | slide coverslipper, robotic | 7 | 30143 | Laboratory
E51087 | Roesenthal dosimeter | 5 | 1995 | dosimeter, aerosol provocation | 10 | 1795 | Other Equipment
| rotation chair | 7 | 91059 | CDP-computerized dynamic posturography system | 7 | 86957.5 | Other Equipment
E13643 | routine pap stainer | 7 | 20000 | slide stainer, automated, high-volume throughput | 7 | 14085.6833 | Laboratory
| RVS System | 7 | 54000 | radiation virtual simulation system | 5 | 54000 | Radiology
E50006 | scale, high capacity | 10 | 1995 | scale, high capacity (800 lb) | 10 | 1726.33 | Furniture
| scale, new born electronic | 7 | 1276 | scale, new born, digital | 15 | 1279.4111 | Furniture
E13607 | scanning electron microscope | 7 | 120000 | microscope, electron, scanning (SEM) (with microprobe and x-ray microanalyzer) | 7 | 178725 | Laboratory
| Scanning Laser Device | 5 | 60000 | tomographic device, optical coherence (OCT) | 7 | 49950 | Other Equipment
| scope washer | 7 |  | endoscope disinfector, rigid or fiberoptic, w-cart | 7 | 18802 | Scope
E71111 | Screening Lane | 7 | 28234.95 | lane, screening (oph) | 7 | 28463.3333 | Room - Lane
E54003 | Seizure Detection Device | 7 | 21000 | EEG, digital, prolonged testing system (computer w-remote camera) | 7 | 46750 | Other Equipment
| sensitometer | 5 | 2500 | sensitometer, film | 10 | 1050 | Radiology
| sensory integration equipment | 8 | 3600 | sensory integration equip (eg, ball pit, glider, trampoline, ramp) | 15 | 3600 | Other Equipment
| sensory kit | 10 | 677 | kit, sensory | 10 | 677.35 | Other Equipment
E72008 | septoplasty tray | 4 | 725.76 | Deleted through PEAC refinement. |  |  | No Details
| shock wave machine | 5 | 450000 | shock wave system | 5 | 350000 | Other Equipment
E13103 | sigmoidoscopic equipment cart | 10 | 3340 | cart, endoscopy imaging equipment | 10 | 2793 | Scope
| simple ear instrument pack | 4 |  | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| simple ear instrumentation pack | 4 |  | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| Simulator, Varian | 5 | 595000 | IMRT x-ray-fluoroscopic-based simulator | 5 | 598120 | Radiology
E51024 | Simulator, Ximatron CF w/last Image hold | 5 | 450000 | Deleted through PEAC refinement. |  |  | No Details
E53018 | Single Head Anger Scintillation Camera | 5 | 300000 | gamma camera system, single-dual head | 5 | 406816.8 | Radiology
E53020 | Single Head or Dual Head Camera | 5 | 575000 | gamma camera system, single-dual head | 5 | 406816.8 | Radiology
E53032 | Single Photon Densitometer/Computer | 5 | 22500 | densitometry unit, whole body, SPA | 5 | 22500 | Radiology
E71028 | Sinusoidal Harmonic Acceleration Chair | 7 | 70080 | CDP-computerized dynamic posturography system | 7 | 86957.5 | Other Equipment
| sleep kit (includes snore sensor & leg kit) | 7 | 630 | Deleted (less than $500) |  |  | No Details
E13644 | slide dryer oven | 10 | 695 | slide dryer | 10 | 962.5 | Laboratory
E13645 | slide etcher | 7.5 | 9400 | slide etcher-labeler | 7 | 15836.6667 | Laboratory
E13617 | slide stainer | 7 | 13000 | slide stainer, automated, high-volume throughput | 7 | 14085.6833 | Laboratory
| smoke evacuation system | 10 |  | Deleted (part of new system) |  |  | No Details
| soft tissue procedure pack | 4 | 539 | instrument pack, basic ($500-$1499) | 4 | 500 | Other Equipment
E30003 | soft tissue tray | 4 | 1559.4 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
E52009 | Software (Paceart) | 5 | 6000 | pacemaker follow-up system (incl software and hardware) (Paceart) | 7 | 23507 | Other Equipment
| software, MR/PET/CT fusion | 5 | 60000 | computer software, MR/PET/CT fusion | 5 | 60000 | Documentation
| software-woodcock johnson test/cognitive abilities | 5 | 728 | cognitive abilities testing software (Woodcock Johnson) | 5 | 558 | Other Equipment
E51046 | Solid Water Calibration Phantom | 5 | 2000 | phantom, solid water calibration check | 10 | 2109.5 | Radiology
E13646 | solvent recycling system | 7.5 | 22000 | solvent recycling system | 7 | 13995 | Laboratory
E13614 | sonicator | 7.5 | 600 | Deleted through PEAC refinement. |  |  | No Details
E52010 | Sony Color Video Printer | 5 | 10500 | Deleted (part of new system) |  |  | No Details
E52010 | Sony Color Video Printer (combine with system) | 5 | 10500 | video printer, color (Sony medical grade) | 4 | 2295 | Documentation
E71031 | sound proof booth- double walled | 7.5 | 11900 | audiometric soundproof booth (exam and control rooms) | 15 | 33518 | Other Equipment
| sounds and followers set, leforte, 12-24 french | 4 | 508 | instrument pack, basic ($500-$1499) | 4 | 500 | Other Equipment
| sounds, female (set) | 4 | 1736 | instrument pack, medium ($1500 and up) | 4 | 1500 | Other Equipment
| sounds, male (set) | 4 | 1104 | instrument pack, basic ($500-$1499) | 4 | 500 | Other Equipment
| sounds, VanBurden | 4 | 1104 | instrument pack, basic ($500-$1499) | 4 | 500 | Other Equipment
| source, 10 Ci Ir 192 | 3 | 22000 | source, 10 Ci Ir 192 | 5 | 22000 | Radiology
E53028 | SPECT Three head Camera | 5 | 565000 | gamma camera system, single-dual head | 5 | 406816.8 | Radiology
| spirometry instrument | 8 | 37974 | Vmax 29s (spirometry testing equip, computer system) | 8 | 26875 | Other Equipment
E13610 | sputter coater | 7.5 | 6000 | Deleted (part of new system) |  |  | No Details
| stainer, automated hematology | 7 | 8253 | slide stainer, automated, standard throughput | 7 | 8265.6422 | Laboratory
| stairs, exercise | 10 | 870 | stairs, ambulation training | 15 | 793.6667 | Other Equipment
| stereotactic frame /tongs | 5 |  | cranial-skull tongs (Gardner-Wells) | 5 | 542 | Other Equipment
| stimulator with probe | 8 |  | Deleted (less than $500) |  |  | No Details
E11002 | stretcher | 5 | 2664 | stretcher | 10 | 1915 | Furniture
E11002 | stretcher | 10 | 2664 | stretcher | 10 | 1915 | Furniture
| strontium-90 applicator | 4 | 8599 | strontium-90 applicator | 5 | 8599 | Other Equipment
| suction and pressure cabinet, ENT (SMR) | 15 | 3195 | suction and pressure cabinet, ENT (SMR) | 10 | 3495 | Other Equipment
E30001 | suction machine, Gomco | 10 | 732.2 | suction machine (Gomco) | 10 | 743.21 | Other Equipment
E72009 | surgical drill system | 7.5 | 19800 | drill system, surgical, large (Stryker) | 10 | 15933 | Other Equipment
E30009 | surgical lamp | 10 | 3650 | light, surgical | 10 | 4489.13 | Furniture
E30018 | surgical loupes | 10 | 1300 | loupes, surgical, prism, up to 8.0x | 7 | 1398.3333 | Other Equipment
E53004 | Survey Meter | 7.5 | 650 | radiation survey meter | 8 | 756.25 | Radiology
| suspension system for sensory integration equipment | 8 | 2500 | sensory integration equipment, suspension system | 10 | 2500 | Other Equipment
E52012 | SVHS video recorder | 5 | 599 | Deleted (part of new system) |  |  | No Details
E52012 | SVHS video recorder | 5 | 599 | video SVHS VCR (medical grade) | 5 | 1250 | Documentation
| swimming pool for aquatic therapy | 10 | 37500 | aquatic therapy pool | 15 | 36000 | Other Equipment
| switch kit | 5 | 1910 | augmentative communication - AT switches (eg, arm, tongue, pneumatic) | 7 | 1910 | Other Equipment
| table, back, mobile | 10 | 709 | table, instrument, mobile | 15 | 634 | Furniture
| table, fluoroscopy (Hydra Vision 64kW) | 10 | 281600 | table, fluoroscopy | 15 | 281600 | Furniture
| table, OR, tilt | 10 | 1010 | table, power | 10 | 6153.63 | Furniture
| table, pedestal for OT | 15 | 795 | table, for seated OT therapy | 15 | 718.6667 | Furniture
| table, traction with leg rest | 10 | 3770 | Deleted (part of new system) |  |  | No Details
| table, treatment/work, adjustable height | 10 | 2905 | table, treatment, hi-lo | 15 | 2361.6667 | Furniture
| Tech Speak | 7 | 645 | augmentative communication - Tech Speak | 7 | 645 | Other Equipment
| TEE transducer | 5 | 45000 | ultrasound, transducer (TEE Omniplane II) | 5 | 45000 | Other Equipment
| test, clerical comprehension (Valpar) | 10 | 2680 | work samples, clerical comprehension (Valpar 5) | 7 | 2680 | Other Equipment
| test, fine finger dexterity (Valpar) | 10 | 725 | work samples, fine finger dexterity (Valpar 204) | 7 | 725 | Other Equipment
| test, physical capacity and mobility (Valpar) | 10 | 725 | work samples, physical capacity (Valpar 201) | 7 | 725 | Other Equipment
E92023 | Therapeutic exercise equipment set | 15 | 12260 | exercise equipment (treadmill, bike, stepper, UBE, pulleys, balance board) | 15 | 12710 | Other Equipment
E92001 | therapeutic ultrasound unit | 7 | 1995 | ultrasound unit, therapeutic | 7 | 1304.3333 | Other Equipment
| Tilt Table | 10 | 6995 | table, tilt (w-trendelenberg) | 15 | 7695 | Furniture
E13649 | tissue processing fume hood | 7.5 | 6400 | hood, fume | 15 | 4778.46 | Laboratory
E13650 | tissue processor | 7 | 39500 | tissue processor | 7 | 33593 | Laboratory
| TLD oven/annealing furnace | 5 | 1960 | TLD annealing furnace | 7 | 2536 | Laboratory
E51048 | TLD Reader | 5 | 13000 | TLD Reader | 7 | 14390 | Laboratory
| Tonography Unit | 5 | 10065 | tonography unit | 7 | 6195 | Other Equipment
| tool set, valpar | 7 | 1765 | work samples, small tools (Valpar 1) | 7 | 1765 | Other Equipment
| topcon TRC 50 E | 5 | 28790 | camera, retinal (TRC 50IX, w-ICG, filters, motor drives) | 5 | 37000 | Documentation
| tourniquet device, pneumatic | 7 | 12500 | tourniquet system (Zimmer1200) | 7 | 10220 | Other Equipment
| Tracher 2000 | 7 | 1895 | augmentative communication - Tracker 2000 | 7 | 1795 | Other Equipment
| transthoracic echo probe, pediatric, 8 mHz | 5 | 15000 | Deleted (part of new system) |  |  | No Details
| treadmill | 10 | 4700 | treadmill | 8 | 4446.11 | Other Equipment
E55020 | Treadmill w/ ECG Monitor | 8 | 16000 | cardiac monitor w-treadmill (12-lead PC-based ECG) | 10 | 14271.03 | Other Equipment
E51050 | Treatment Planning Computer-3D (Focus) | 5 | 221500 | computer workstation, 3D teletherapy treatment planning | 5 | 221500 | Documentation
| treatment planning system for intensity modulated radiotherapy | 5 | 350000 | treatment planning system, IMRT (Corvus w-Peregrine 3D Monte Carlo) | 5 | 350545 | Documentation
| Treatment Vault | 7 | 550670 | radiation treatment vault | 15 | 550670 | Radiology
| TUMT device | 5 | 60000 | TUMT system control unit | 7 | 29995 | Other Equipment
E71032 | tympanometer with printer | 7 | 2700 | tympanometer with printer | 10 | 2648.53 | Other Equipment
| ultrasonic biometry, pachymeter | 5 | 3945 | ultrasonic biometry, pachymeter | 5 | 3945 | Other Equipment
E13663 | ultrasonic instrument cleaner | 7.5 | 945 | Deleted (indirect) |  |  | No Details
E52019 | Ultrasonic nebulizer | 10 | 1000 | Deleted (CPT action) |  |  | No Details
E52001 | ultrasound color doppler, transducers and vaginal probe | 5 | 155000 | ultrasound color doppler, transducers and vaginal probe | 5 | 155000 | Other Equipment
E52018 | Ultrasound Room | 5 | 272000 | room, ultrasound, general | 5 | 369945 | Room - Lane
| ultrasound table | 10 | 4495 | table, ultrasound | 15 | 5823.3333 | Furniture
| Ultrasound Unit | 5 | 30000 | ultrasound unit, Shimadzu | 5 | 29999 | Other Equipment
E52005 | ultrasound, shimatsu | 5 | 35000 | ultrasound unit, Shimadzu | 5 | 29999 | Other Equipment
| urethotome, otis | 3 | 1735 | urethrotome, Otis | 4 | 1697.5 | Scope
E52006 | urodynamics machine, 4-channel video | 5 | 15175 | urodynamics system, 4-channel | 5 | 30733 | Other Equipment
| urodynamics machine, 6-channel video | 5 | 115578 | urodynamics system, 6-channel, w-video | 5 | 115578 | Other Equipment
| uroflowmeter, digital, w-chair (Microflo) | 5 | 2758 | uroflowmeter, digital, w-chair | 7 | 2758 | Other Equipment
| uterine thermal balloon ablation system (Thermachoice) | 5 | 8500 | uterine thermal balloon ablation system (Thermachoice) | 7 | 8500 | Other Equipment
| UV monitor/meter | 5 | 690 | phototherapy UVB measuring device | 10 | 690 | Other Equipment
| vacuum cart | 10 |  | vacuum cart | 10 |  | Other Equipment
E13615 | vacuum dissector | 10 | 635 | Deleted through PEAC refinement. |  |  | No Details
E13627 | vacuum evaporator | 7.5 | 15000 | Deleted (part of new system) |  |  | No Details
E13612 | vacuum oven | 10 | 3000 | Deleted (part of new system) |  |  | No Details
E13624 | vacuum pump | 10 | 1455 | vacuum pump | 7 | 1840 | Laboratory
E92015 | Vasopneumatic device | 10 | 795 | vasopneumatic compression system | 10 | 632.475 | Other Equipment
E91003 | ventilator hood & blower | 10 | 602.55 | hood, ventilator with blower | 10 | 1612.5 | Laboratory
| video add-on camera system w-monitor (endoscopy) | 5 | 9495 | video add-on camera system w-monitor (endoscopy) | 5 | 9495 | Scope
E13635 | video camera | 5 | 1000 | Deleted (part of new system) |  |  | No Details
E13635 | video camera (combine with system) | 5 | 1000 | video add-on camera system w-monitor (endoscopy) | 5 | 9495 | Scope
E13635 | video camera (combine with system) | 5 | 1000 | video camera | 5 | 1000 | Documentation
| video system, capsule endoscopy (software, computer, monitor, printer) |  | 17000 | video system, capsule endoscopy (software, computer, monitor, printer) | 5 | 17000 | Scope
| video system, capsule endoscopy, booster drive w-accessories |  | 2500 | video system, capsule endoscopy, booster drive w-accessories | 5 | 2500 | Scope
| video system, endoscopy (processor, digital capture, monitor, printer, cart) | 5 | 33233 | video system, endoscopy (processor, digital capture, monitor, printer, cart) | 5 | 33232.5 | Scope
| video system, FEES (scope, camera, light source, image capture, monitor, printer, cart) | 5 | 21675 | video system, FEES (scope, camera, light source, image capture, monitor, printer, cart) | 5 | 21675 | Scope
| video system, FEESST (scope, sensory stimulator, camera, light source, image capture, monitor, printer, cart) | 5 | 29550 | video system, FEESST (scope, sensory stimulator, camera, light source, image capture, monitor, printer, cart) | 5 | 29550 | Scope
| video system, stroboscopy (strobing platform, camera, digital recorder, monitor, printer, cart) | 5 | 25310 | video system, stroboscopy (strobing platform, camera, digital recorder, monitor, printer, cart) | 5 | 25310 | Scope
E71033 | visual response audiometry | 7 | 700 | VRA-visual reinforcment audiometry system | 5 | 1550 | Other Equipment
E55023 | VMax 229 (split/combine systems) | 8 | 56551.2 | Vmax 229 (spirometry testing equip, computer system) | 8 | 44681 | Other Equipment
E55023 | VMax 229 (split/combine systems) | 8 | 56551.2 | Vmax 29s (spirometry testing equip, computer system) | 8 | 26875 | Other Equipment
| Voice Pal Max | 7 | 555 | augmentative communication - VoicePal Max | 7 | 555 | Other Equipment
E13648 | vortex mixer | 7.5 | 500 | Deleted (less than $500) |  |  | No Details
E54002 | Voyager acquisition station | 7 | 46850 | sleep screening system, attended (w-resp plethysmography) | 5 | 22000 | Other Equipment
| water bath | 10 | 750 | water bath, general purpose (lab) | 7 | 726.4475 | Laboratory
| Water Bath Phantom with Drivers | 5 | 15000 | phantom, water, includes remote motor drive | 10 | 3070 | Radiology
| water bath, general purpose (lab) | 5 | 726.45 | water bath, general purpose (lab) | 7 | 726.4475 | Laboratory
| Water Chiller | 7 | 28000 | water chiller (radiation treatment) | 7 | 28000 | Radiology
E51026 | Waterbath for Thermoplastic Immobilizer System | 5 | 750 | water bath, thermoplastic softener (20in x 12in) | 7 | 722.3633 | Radiology
| Waterbath, Medtech | 5 | 1150 | water bath, thermoplastic softener (20in x 12in) | 7 | 722.3633 | Radiology
E71008 | Weeks dark adaptometer | 5 | 16100 | Weeks dark adaptometer | 7 | 2950 | Other Equipment
E51076 | Well Counter | 5 | 3955 | well counter | 7 | 3955 | Radiology
E51074 | Well Ionization Chamber, Standard Imaging | 5 | 4641 | Deleted through PEAC refinement. |  |  | No Details
E71108 | wheatstone trainer | 7.5 | 895 | stereo trainer (wheatstone) | 7 | 550 | Other Equipment
E92005 | whirlpool | 10 | 3700 | whirlpool, lo-boy tank (whole body) | 10 | 3296.4 | Furniture
| whitkit evaluation kit | 5 | 1400 | augmentative communication - WhitKit head support | 7 | 1400 | Other Equipment
E53030 | Whole Body or Dual Head Camera | 5 | 575000 | Deleted through PEAC refinement. |  |  | No Details
| WIT thermotherapy unit | 5 | 18500 | WIT system (AquaTherm) | 7 | 16400 | Other Equipment
| work bench, orthotic, mobile | 10 | 750 | cart-workbench, orthotic, mobile | 10 | 752.5 | Furniture
| work station, post processing for CT angiography | 10 | 180000 | Deleted (part of new system) |  |  | No Details
E53022 | Xenon Delivery System | 5 | 5450 | Deleted through PEAC refinement. |  |  | No Details
| xenon light source - cable for endoscope | 3 |  | light source, xenon | 5 | 6723.3333 | Other Equipment
E53024 | Xenon Monitor | 5 | 2775 | Deleted through PEAC refinement. |  |  | No Details
E51003 | X-omat Film processor M35A | 8 | 10900 | film processor, x-omat (Kodak 2000A) | 8 | 11500 | Documentation
E51002 | X-omat film processor M6B | 8 | 26832 | film processor, x-omat (M6B) | 8 | 34865 | Documentation
E55032 | x-ray lift | 7.5 | 800 | lift, hydraulic, table assist | 10 | 1111 | Furniture
E51001 | X-ray View Box 4 panel | 15 | 909.49 | x-ray view box, 4 panel | 10 | 889.1667 | Radiology
E72000 | YAG laser | 5 | 40000 | laser, YAG | 5 | 29975 | Other Equipment
E71009 | Zeiss slit lamp camera | 10 | 7495 | slit lamp (Haag-Streit) | 10 | 7435 | Other Equipment
| zeiss visulas 690 PDT laser | 5 | 37900 | laser, photodynamic therapy | 5 | 35000 | Other Equipment